## Worksheet 1
Item | Elevation (m) | Period | Instrument | Maker (model)
Shortwave radiation | 1.5 | Dec 2015 ∼ | Four component radiation balance meter | Hukseflux (CHF-NR01)
| 1.5 | Aug 1981 ∼a | Thermocouple type total solar pyrometer | EKO (MS-402F)
EKO (MS-43F)
EKO (A75510(MS43F))
EKO (A84517)
Net radiation | 1.5 | Mar 2014 ∼ | Four component radiation balance meter | Hukseflux (CHF-NR01)
|  |  | Draft-type thermocouple type radiation | EKO (MF-11, CN-11)
|  | Aug 1981 ∼ | budget meter
Air temperatureb | 1.6, 12.3, 29.5 | Aug 1981 ∼ | Ventilated platinum resistance thermometer | Vaisala (CVS-HMP155D)
|  |  | Humidity temperature probe | Vaisala (CVS-HMP45D)
Nakaasa (E-731)
Dew point temperature | 1.6, 12.3, 29.5 | Aug 1981 ∼ Jan 2006 | Calculated from relative humidity | Vaisala (CVS-HMP)
(relative humidity) |  | 2006 ∼ | Lithium chloride dew point thermometer | Nakaasa (E-771)
Sensible heat flux | 1.6 | Aug 1981 ∼ | Ultrasonic wind speed thermometer | KAIJO SONIC (DA650, TA-61A)
| 12.3 | Aug 1981 ∼ 1987 |  | KAIJO (DA600)
| 29.5NW | Aug 1981 ∼ |  | Kaijyo Denki
| 29.5SE | Aug 1981 ∼ Mar 2015
Jul 2015 ∼
Soil temperature | −0.02, −0.1, | Aug 1981 ∼ | Waterproof type platinum resistance | C-PTG-10
| −0.5, −1.0 |  | thermometer | Nakaasa (E-751)
Soil heat flux | −0.02 | Aug 1981–∼ | Thermocouple type ground heat flow plate
EKO (CN-81)
| −0.1 | May 2013∼ | Heat flow plate | Hukseflux (HFP01-10)
Wind speed | 1.6 | Aug 1981 ∼ | Ultrasonic wind speed thermometer | KAIJO SONIC (DA650, TA-61A)
| 12.3 | Aug 1981 ∼ 1987 |  | KAIJO SONIC (DA600)
| 29.5NWc | Aug 1981 ∼ |  | Kaijyo Denki
| 29.5SEc | Aug 1981 ∼ Mar 2015
Jul 2015 ∼
| 30.35 | Feb 2014 ∼ | Propeller type wind direction anemometer | YOUNG (CYG-5103LM)
Precipitation | 0.3 | Aug 1981 ∼ | Tipping falls separated type self-recorded | Yokokawa (WB0013-05,
|  |  | rain gauge | B-011-00)
Atmospheric pressure | 1.5 | Aug 1981 ∼ | Barometer | Vaisala (PTB210)
Nakaasa (F-401)