## Worksheet 1
Measurement | Instrument | Key instrument specifications
Total snow depth | Ultrasonic Judd depth sensor | Target to bare ground distance: 619 cm Relative accuracy ±0.4 %, thus 2.5 cm accuracy at worst 22∘ beam width, footprint size 236 cm at most
Snow water equivalent | DWR snow pillow with GE Druck PMP 317 transducer | Accuracy: −0.6 to 2.6 % (Palmer, 1986) Range: 0–100 in. (254 cm) water
24 h new snow, automated | Ultrasonic Judd depth sensor | See above
24 h new snow/SWE, manual | Snowmetrics 12′′ tube andspring scale | Observer and snowpack type dependent, but widely considered to be the most accurate method of measuring new snow and SWE
Air temperature/relative humidity | Campbell Scientific HMP45C | ±