## Worksheet 1
Measurement | Instrument | Key instrument specifications
Total snow depth | Ultrasonic Judd depth sensor | See above
Snow water equivalent | DWR snow pillow with GE Druck PMP 317 transducer | Accuracy: −0.6 to 2.6 % (Palmer, 1986) Range: 0–150 in. (318 cm) water
Air temperature/relativehumidity | Campbell HMP45C | See above
Ground temperature | Buried YSI thermistor string | Accuracy: ±0.1 ∘C
Air pressure | Met One 092 barometer pressure sensor | Resolution: 0.1 mb Accuracy: ±0.35 mb Long-term stability: ±1.0 mb in 1 year
Upward-looking directbroadband solar radiation | Delta-T Sunshine Pyranometer SPN1 | Spectral response: 0.400 to 2.700 µm Manufacturer accuracy: not given Wilcox and Myers (2008) February to May accuracy: 3.0 to 8.1 % bias
Upward-looking diffusebroadband solar radiation | Delta-T Sunshine Pyranometer SPN1 | Spectral response: 0.400 to 2.700 µm Manufacturer accuracy: ±5.0 % Wilcox and Myers (2008) February to May accuracy: −13.8 to −4.3 % bias
Upward-looking nearinfrared solar radiation | Ventilated Eppley PrecisionSpectral Pyranometer withSchott glass RG8 hemispherical filter | Spectral response: 0.700 to 2.800 µm Accuracy: ±2.0 %
Downward-looking radiation | Eppley Precision Spectral Pyranometer with Schott glass WG7 clear dome | Spectral response: 0.285 to 2.800 µm Accuracy: unknown for diffuse radiation from snow
Downward-looking nearinfrared radiation | Eppley Precision Spectral Pyranometer with Schott glass RG8 hemispherical filter | Spectral response: 0.700 to 2.800 µm Accuracy: unknown for diffuse radiation from snow
Upward-looking longwave radiation | Eppley Precision Infrared Radiometer | Spectral response: 4.00 to 50.00 µm Accuracy: ±2.5 %
Wind speed and direction | RM Young 5103 Wind Monitor | Range: 1.1 to 100 m s−1 Accuracy: speed ±1 %; direction ±3∘
| Lufft WS600 UMB ultrasonic anemometer | Range: 0 to 75 m s−1 Accuracy: speed ±1 m s−1; direction ±3∘