## Worksheet 1
Flag | Meaning | Description
ONL | Online data | Data from online stations, daily download, used for online status check
RAW | Raw data | Base data from offline stations, 3-monthly backup of online data, used for maintenance check in the field
LV0 | Level 0 | Standardized format with data in equal time steps (UTC), filled with NA for data gaps
LV1 | Level 1 | Quality-controlled data including flags; quality control includes maintenance periods, physical plausibility, spike/constant value detection, sensor drifts, and snow on sensor detection
LV2 | Level 2 | Modified data compiled for special purposes such as combined data series from multiple sensors and gap-filled data
0 | Good data | All quality tests passed
1 | No data | Missing value
2 | System error | System failure led to corrupted data, e.g. due to power failure, sensors being removed from their proper location, broken or damaged sensors, or the data logger saving error codes
3 | Maintenance | Values influenced by the installation, calibration, and cleaning of sensors or programming of the data logger; information from field protocols of engineers
4 | Physical limits | Values outside the physically possible or likely limits
5 | Gradient | Values unlikely because of prolonged constant periods or high/low spikes; test within each individual series
6 | Plausibility | Values unlikely in comparison with other series or for a given time of the year; flagged manually by engineers
7 | Decreased accuracy | Values with reduced sensor accuracy, e.g. identified if freezing soil does not show a temperature of 0 ∘C
8 | Snow covered | Good data, but the sensor is snow covered