## Worksheet 1
Measurement parameter | Description | Unit | Type of sampling
AirTC | Air temperature | ∘C | Sample
RH | Relative humidity | % | Sample
Baro | Barometric air pressure | hPa | Sample
WindSp_Avg | Wind speed | m/s | Average
WindSp_Max | Wind speed maximum (gust) | m/s | Maximum
WindSP_TMax | Time of wind speed maximum | Date and time | Date and time of maximum
WindDir | Wind direction | ∘ (degree) | Sample
Rain_Tot | Precipitation | mm | Total
RadSW_Up_Avg | Incoming shortwave solar radiation | W/m2 | Average
RadSW_Dn_Avg | Outgoing (reflected) shortwave solar radiation | W/m2 | Average
RadLW_Un_Avg | Incoming longwave solar radiation | W/m2 | Average
RadLW_Dn_Avg | Outgoing (reflected) longwave solar radiation | W/m2 | Average
NR01TC_Avg | Temperature at the solar radiation sensor in degrees Celsius | ∘C | Average
NR01TK_Avg | Temperature at the solar radiation sensor in kelvin | K | Average
NetRs_Avg | Net shortwave solar radiation | W/m2 | Calculateda
NetRl_Avg | Net longwave solar radiation | W/m2 | Calculated
Albedo_Avg | Proportion of the incident light or radiation that is reflected by a surface |  | Calculated
UpTot_Avg | Total incoming solar radiation | W/m2 | Calculated
DnTot_Avg | Total outgoing solar radiation | W/m2 | Calculated
NetTot_Avg | Total net solar radiation | W/m2 | Calculated
RadLW_UpCo_Avg | Temperature-corrected incoming longwavesolar radiation | W/m2 | Calculated
RadLW_DnCo_Avg | Temperature-corrected outgoing (reflected) longwave solar radiation | W/m2 | Calculated
VW_#b | Volumetric soil water content at local position | n/a | Sample
PA_#b | Measured travel time of the electromagnetic wave along theprobe at local position | µs | Sample
T107_#b | Soil temperature at local position | ∘C | Sample