## Worksheet 1
Instrument | Brief description
Weather sensors | Aosong relative humidity (2 % RH accuracy) and temperature (0.1–1 K accuracy) sensor (0.2 Hz).
Anemometer | 1D static tube with PT100 measuring wind speed and temperature at 100 Hz, wind speed range 3–20 m s−1 with
Anemometer | Metek uSonic-3 Class A ultrasonic anemometers operating at 30 Hz, 0–40 m s−1 with minimal flow shadowing from of the arms, and 1∘ wind direction accuracy
Cloud droplet probe | DMT CDP-2, a forward-scattering optical spectrometer to determine size and number concentration of 2 to 50 µm particles
Weather sensors | Vaisala HMP7 heated humidity and temperature probe; response time ∼15 s, ±0.8 % RH accuracy, ±0.1 K temperature accuracy
Weather sensors | Bosch BMP388 sensor measuring pressure and temperature (±50 Pa absolute pressure accuracy, ±0.3 K temperature accuracy)
Hot wire | Dantec mini-hot wire measuring air velocity fluctuations at 8 kHz
Ultra-fast thermometer | Ultra-fast thermometer M (UFT-M, provided by University of Warsaw) measuring temperature fluctuations with a sampling frequency of 8 kHz