## Worksheet 1
i. Diatoms
Samples were digested using hydrogen peroxide to remove organic matter and mounted on slides using the mountant Naphrax. At least 300 valves on each slide were identified to the highest resolution possible using a Nikon BX40 microscope with 100× oil immersion objective with phase contrast. The primary floras and identification guides used were Krammer and Lange-Bertalot (1986, 2000, 1997, 2004), Hartley (1996) and Hofmann et al. (2011). All nomenclature was adjusted to that used by Whitton et al. (1998), which follows conventions in Round et al. (2007) and Fourtanier and Kociolek (1999). Members of the Achnanthidium minutissimum complex showed considerable morphological variability and were classified using the conventions in Potapova and Hamilton (2007).
ii. Invertebrates
Initially, samples were prepared by washing and sieving. Small portions of the samples were placed into a water filled sorting tray, marked with a grid to act as an aid, and systematically scanned for invertebrates. Examples of all taxa were placed into vials for quality assurance. After the first sort, the sample was then disturbed and/or rotated to expose previously hidden taxa. The process was repeated until all necessary taxa had been removed from the sample.Macroinvertebrates removed from the sample were identified to species level where possible, including Caddis and Diptera pupae but with the exception of Oligochaeta, Chironomidae, Simuliidae and Hydracarina. The majority of identification work was conducted using dissection microscopes with high-power microscopes used for examination of small specimens or specific parts of specimens. Terrestrial and aerial stages of aquatic species, terrestrial species and specimens which were dead when collected were not counted. Invertebrates which had become fragmented were only counted as a record if the thorax and abdomen were present. If only the posterior, abdomen or head was present, the species was not recorded.Though the abundances of taxa were not necessary for the Biological Monitoring Working Party (BMWP) water quality scoring system, they were recorded for use in other indices and environmental diagnostics. Only free-living individuals were counted. Colonies were counted as one individual. Very abundant taxa were recorded by distributing the sample evenly, counting the specimens in a portion of the tray using the grid lines and calculating the total by proportions. Quality control was carried out by the reanalysis of 1 randomly selected sample in every 20 by a different analyst.
iii. Water chemistry
Bottled water samples were sent to the laboratories at the UK Centre for Ecology & Hydrology, Lancaster, and were analysed according to accredited methods as described below: Phosphate (PO4-P). PO4-P concentrations were measured colourimetrically using a Seal Analytical AQ2 discrete analyser. PO4-P was determined by reaction with acidic molybdate in the presence of antimony to form an antimony–phosphomolybdate complex. Ascorbic acid reduced this to the intensely blue phosphomolybdenum complex, measured spectrophotometrically at 880 nm. Calibration was produced by automatic dilution of a single stock solution of 0.2 mg L−1 PO4-P; concentrations were obtained using the calibration curve within the range 0–0.2 mg L−1. Control standards of 0.1 mg L−1 PO4-P were analysed every 10 samples. Total dissolved nitrogen (TDN).A Skalar Formacs CA16 analyser with an attached ND25 filter was used to measure total dissolved nitrogen in water samples. TDN was measured by combustion at 900 ∘C with a cobalt chromium catalyst which converts all nitrogen to nitric oxide. The nitric oxide was measured by a chemiluminescent reaction with ozone. The calibration range of the instrument was 0–4 mg L−1 for nitrogen. Samples with values over this range were diluted to within the range using 18.2 MΩ carbon-free water. Alkalinity.Alkalinity was determined using a standard operating procedure for alkalinity in waters. Alkalinity was determined using the Mettler Toledo DL53 titrator, which performs analyses automatically using predefined methods. A complete titration method comprised sample dilution, dispensing of acid, stirring and waiting times, the actual titration, the calculation of results, and a report.Reagents and material used include standard buffer solutions from Fisher Scientific of pH 4 and pH 7, electrode filling solution made with potassium chloride solution (4 M) saturated with silver chloride from Fisher Scientific, 1.0 M hydrochloric acid, 0.02 M hydrochloric acid, 1000 mg L−1 stock solution as calcium carbonate, 20 mg L−1 quality controlled standard as calcium carbonate, and deionised water. Alkalinity (usually) reflects the activity of calcium carbonate, so results were reported as milligrams per litre of calcium carbonate (mg L−1 CaCO3).