## Worksheet 1
Variable | Instrument | Manufacturer | Instrument height or depth | Comment
Shortwave radiationdown- and upwelling | CNR4 pyranometers, 300–3000 nm with CNF4 ventilator and heater | Kipp & Zonen | 2.3 m | CNF4 on for 5 min before hourly measurement
Longwave radiationdown- and upwelling | CNR4 pyrgeometers, 4.5–42 µm with CNF4 ventilator and heater | Kipp & Zonen | 2.3 m | CNF4 on for 5 min before hourly measurement
Snow (winter) or soil(summer) surface temperature | IR 120 infrared sensor,8–14 µm | Campbell Scientific | 1.5 m | Measurement everyminute, hourly average recorded
Air temperature andrelative humidity(relative to liquid orsupercooled water) | HC2-S3-XT sensor, insidewhite PVC tubing, ventilated | Rotronic | 2.3 m | Ventilator on for 5 minbefore hourly measurement
Wind speed | Cup anemometer | Vector instruments | 2.3 m | Measurement everyminute, hourly average recorded
Precipitation | Geonor 200, complemented with data fromGeonor gauges at PondInlet and Cape Liverpool |  | 1.5 m
Atmospheric pressure | Not measured, data fromPond Inlet and Cape Liverpool used |  |  | Average value of datafrom station at Pond Inlet and Cape Liverpool
Snow depth | SR50A acoustic gauge | Campbell scientific | 2.2 m | Measurement everyminute, hourly average recorded
Snow thermalconductivity | TP08 heated needle probes | Hukseflux | 7, 17, 27 cm in 2013,changed to 2, 12, 22 cm in July 2014 | Measurement everyother day at 05:00 local summer time (UTC−4)
Snow temperature | Pt 100 thermistors | Home-assembled sensors | 2, 7, 17, 27, 37 cm,changed to 0, 5, 15, 25,35 in July 2018 | Measurement everyminute, hourly average recorded
Soil thermalconductivity | TP08 heated needle probes | Hukseflux | 10 cm | Measurement everyother day at 05:00 local summer time
Soil temperature andvolume water content | 5TM sensors | Decagon(now Meter) | 2, 5, 10, 15, 21 cm | Hourly measurement
Scenery | Time lapse camera | Reconyx | 1.5 m | Four pictures a day