## Worksheet 1
Time Resolution |  |  | ATT |  | LRN |  | PHX |  | WFD
| Instrument | Measurement | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 2
1 min | Pluvio | Accu RT-NRT | X | X | X | X | X | X | X | X
|  | Accu NRT | X | X | X | X | X | X | X | X
|  | Accu total NRT | X | X | X | X | X | X | X | X
|  | Bucket RT | X | X | X | X | X | X | X | X
|  | Bucket NRT | Q | Q | Q | Q | Q | Q | Q | Q
| SR50A | Snow height |  | Q |  | Q | Q | Q | Q | Q
|  | Temperature–air |  | Q |  | Q | Q | Q | Q | Q
| WAA151 | Wind speed | Q | Q | Q | Q | Q | Q | Q | Q
| OPD-104 | Count | Q | Q | Q | Q | Q | Q | Q | Q
|  | Path status | X | X | X | X | X | X | X | X
| Radiation | Shortwave–downward | – | – | X | X | X | X | – | –
|  | Shortwave–upward | X | X | – | – | X | X | X | X
|  | Longwave–downward | X | X | X | X | X | X | X | X
|  | Longwave–upward | X | X | X | X | – | – | X | X
1 and 5 min (event-based) | SR50A | Snow height | X |  | X
|  | Temperature–air | X |  | X
| Parsivel | Num. part. detected and valid | – | – |  | – |  | X | – | –
|  | Num. part. detected – all | – | – |  | – |  | X | – | –
|  | Avg. vol. eq. dia. (ved) of n class | – | – |  | – |  | X | – | –
|  | Avg. part. speed (ps) of n class | – | – |  | – |  | X | – | –
|  | Raw data (bins of spd, dia) | – | – |  | – |  | X | – | –
| LPM | Precipitation amount |  | X | – | – | – | – |  | X
|  | 1 min visibility in precipitation |  | X | – | – | – | – |  | X
|  | Number particles |  | X | – | – | – | – |  | X
|  | Number particles LT 0.15 m s−1 |  | X | – | – | – | – |  | X
|  | Number particles GT 20 m s−1 |  | X | – | – | – | – |  | X
|  | Number particles LT 0.15 mm |  | X | – | – | – | – |  | X
|  | Number particles – NoHydro |  | X | – | – | – | – |  | X
|  | Number particles – unknown |  | X | – | – | – | – |  | X
|  | Number particles – classes 1–9 |  | X | – | – | – | – |  | X
|  | Total volume – classes 1–9 |  | X | – | – | – | – |  | X
|  | Raw data (bins of spd, dia) |  | X | – | – | – | – |  | X
1 h (event-based) | CCFC | Image |  | Q |  | Q |  | Q |  | Q
|  | Video (5 s) | Q | Q | Q | Q | Q | Q | Q | Q
Daily | CCFC | Image |  | Q |  | Q |  | Q |  | Q
|  | Video (5 s) |  | Q |  | Q |  | Q |  | Q