## Worksheet 1
Quality control level | Description | Potential error sources
L1 – outlier detection
L1.1 – range test | Range check against climatological extremes | Sensor malfunction
L1.2 – temporal outliers | Ensure realistic change in magnitude between consecutive observations of a specific station | Battery loss, server failure, connection issues, sensor malfunction
L1.3 – spatial outliers | Ensure realistic observation compared to neighbouring stations | Battery loss, server failure, sensor malfunction, outdoor sensor set up inside (not applicable in our set-up due to the installation by team members)
L2 – inter-station bias correction | Model the fixed between-station temperature bias | Sensor calibration issues
L3 – intra-station bias correction | Model the variable station-specific temperature bias | Design flaws, outdoor sensor set up in sunlit area (no active ventilation)