## Worksheet 1
(a) TFS
| Parameter | Units | Instrument | Analytical method | Detection limit
Watershed characteristics | Drainage area | km2
| Slope (mean) | Degrees
| Slope (standard deviation) | Degrees | Arc-GIS | Spatial analysis
| Roughness (mean) | NDVI
| Roughness (standard deviation) | NDVI
Water quality measurements | Temperature | ∘C | YSI Pro Plus multiparameter meter | Analyzed in the field with a handheld field probe
| Specific conductivity | µS cm−1
| pH | pH
| O2 | % Sat | YSI ProODO dissolved oxygen
meter
Water chemistry | Turbidity | NTU | Forest Technology Systems (FTS) | Nephelometric geometry | 0.2 NTU
(post-filtering) |  |  | DTS-12 digital turbidity sensor
| DOC | µM | Shimadzu TOC-LCPH with TN | Combustion catalytic oxidation method | 0.3 µM
| TDN | µM |  | High-temperature catalytic combustion | 0.28 µM
and chemiluminescence detection
| N-NO3 | µM | Lachat QuikChem flow | Cadmium reduction | 0.03 µM
| N-NH4 | µM | injection analysis system | Sodium salicylate-based procedure that requires | 0.3 µM
a standard heating unit and is read at 660 nm
| SRP | µM | Shimadzu UV-2600 | Colorimetric analysis using an ammonium | 0.05 µM
|  |  | spectrophotometer | molybdate-based reagent (although
technically USGS refers to this as
the ascorbic acid method)
| PP | µM |  | Same as above, preceded by combustion at | 0.05 µM
500 ∘C and a hydrochloric acid digestion
| TDP | µM |  | Same as SRP, preceded by a potassium | 0.05 µM
persulfate digestion
| F, acetate, formate, Cl, NO2, Br, SO4, | µM | Thermo Scientific Dionex ICS-2100 | Ion chromatography | 0.05 µM
| PO4, Li, Na, NH4, K, Mg, Ca |  | integrated IC system with
electrolytic eluent generation
with an AS-AP autosampler
| nPOC | mg L−1 | Shimadzu TOC-LCPH with TN | Combustion catalytic oxidation method | 0.3 µM
| Spectral slope ratio | Unitless
| SUVA254 | LmgC-1m-1
| Al, As, B, Ba, C, Cd, Co, Cr, | µM | ICP-MS | Inductively coupled plasma mass spectrometry (ICP) | 0.02 mg L−1
Cu, Fe, K, Mg, Mn, Mo, Na, Ni,
P, Pb, S, Se, Si, Sr, Ti, V, Zn
| Alkalinity | meq L−1 | Accumet AB200 pH meter | Samples individually titrated with 0.18 N sulfuric acid | 0.2 meq L−1
| Parameter | Units | Instrument | Specific method | Detection limit
Watershed | Drainage area | km2 | Arc-GIS | Watershed delineation
characteristics | Slope (mean) | Degrees
| Slope (standard deviation) | Degrees
| Roughness (mean) | NDVI
| Roughness (standard deviation) | NDVI
Water quality | Temperature | ∘C | YSI Pro Plus multiparameter meter
measurements | Specific conductivity | µS cm−1
(taken in the field) | pH | pH
| O2 | % Sat | YSI ProODO dissolved oxygen meter
Water chemistry | DOC | mg L−1 | OI Analytical Model 700 | Platinum-catalyzed | 4 µg
(post-filtering) |  |  | TOC analyzer | persulfate wet
oxidation method
| TDN | mg L−1 | Technicon AutoAnalyzer II | Persulfate digest | 0.01 mg L−1
| NO3+NO2 | mg L−1 | Lachat QuikChem 8500 | Cadmium reduction | 0.001 mg L−1
| NH4 | mg L−1 |  | Colorimetric | 0.01 mg L−1
| SRP | mg L−1 |  | Ascorbic acid method | 0.001 mg L−1
| TDP | mg L−1 | Technicon AutoAnalyzer II | Persulfate digest | 0.002 mg L−1
| Cl, SO4 | mg L−1 | Dionex 1500 IC | Ion chromatography | 0.01 mg L−1
| Na, K, Mg, Ca, Fe | mg L−1 | Shimadzu AA-7000 | Flame atomic absorption | 0.01, 0.03, 0.02,
|  |  |  | spectroscopy | 0.06, 0.06 mg L−1
| SUVA254 | LmgC-1m-1 |  | Spectrophotometer
| Alkalinity | mg CaCO3 L−1 | ManTech PC-Titrate auto | Titration to 4.5, | 0.2 mg CaCO3 L−1
|  |  | titrator system | use 0.02 N Na2CO3
and 0.02 N H2SO4
| DIC | mg L−1 | Shimadzu TOC-VCSH | Combustion catalytic | 0.05 mg L−1
|  |  | combustion analyzer | oxidation method