## Worksheet 1
Field name | Comments
sitename | Name of the FirnCover site
daynumber_YYYYMMDD | Year, month, and day of the measurement
BattV_min_V | Minimum station battery voltage for the day
BattV_max_V | Maximum station battery voltage for the day
PanelTemp_mean_C | Mean daily temperature (∘C) measured on the data logger inside the logger box
AirTemp_min_C | Minimum daily air temperature (∘C) measured hourly
AirTemp_max_C | Maximum daily air temperature (∘C) measured hourly
SonicRangeQuality | The quality score value of the sonic ranging sensor, chosen as the highest quality of 24 daily measurements, ranges from 162 to 600 with good quality scores below 210
SonicRangeQualityCode | 0 is good; 1 is questionable; 2 is poor; 3 is no measurement
SonicRangeDist_Raw_m | The raw distance measured by the sonic ranger, before temperature correction
SonicRangeAirTemp_C | The air temperature at the time of the sonic ranger measurement
SonicRangeDist_Corrected_m | The corrected distance measured by the sonic ranger
Accum_Snow_Depth_m | The accumulated snow depth since the instruments' installation, corrected for tower raises upon revisits