## Worksheet 1
Error source (10 s sampling resolution) | Ozone (ppb)
Laboratory precision | 1.2
Variability in zero offset | 1.4
Repeatability | 0.6
Pressure dependance | 2.2
Overall uncertainty (RMS of 1σ uncertainties) | 3