## Worksheet 1
Error source (3 s sampling resolution) | CO2 (ppm) | CH4 (ppb)
Laboratory precision | 0.03 | 0.3
Accuracy of the standard | 0.07 | 0.3
Variance in flight | 0.08 | 0.8
Uncertainty due to water vapor corrections | 0.1 | 2
Repeatability | 0.03 | 0.4
Pressure dependance | 0.04 | 0.1
Overall uncertainty (RMS of 1σ uncertainties) | 0.16 | 2.2