## Worksheet 1
Data type and column headings | Sampling and analysis method | Data coverage and availability of full data
L4: water temperature
L4_Temp_0m_degC L4_Temp_10m_degC L4_Temp_25m_degC L4_Temp_50m_degC Columns 3–6 | Measurements were taken weekly (conditions permitting). From March 1988 to April 1993, the surface temperature (0 m) was measured using a mercury thermometer in a stainless-steel bucket of freshly collected seawater. From May 1993 to December 2001, a PML conductivity–temperature–depth (CTD) instrument was also concurrently used in addition to the bucket method. In January 2002, this PML CTD was replaced with a SeaBird SBE19+ CTD. Bucket temperatures were adjusted to CTD equivalents using a regression equation for parallel determinations. For surface values, we obtained a value for each sampling week based on this adjusted bucket temperature if only this was available. If both bucket and CTD data were available, we used the CTD temperature. We then derived arithmetic mean temperatures for each month. | From March 1988 to December 2021, monthly data were derived from 1491 sampling points. From May 1993 onwards, a CTD was used that provided 1142, 1140 and 977 weekly time points for 10, 25 and 50 m, respectively. Data are available from https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: nutrients
L4_Nitrite_0m_µM L4_Nitrite_10m_µM L4_Nitrite_25m_µM L4_Nitrite_50m_µM L4_Nitrite+Nitrate_0m_µM L4_Nitrite+Nitrate_10m_µM L4_Nitrite+Nitrate_25m_µM L4_Nitrite+Nitrate_50m_µM L4_Ammonia_0m_µM L4_Ammonia_10m_µM L4_Ammonia_25m_µM L4_Ammonia_50m_µM L4_Silicate_0m_µM L4_Silicate_10m_µM L4_Silicate_25m_µM L4_Silicate_50m_µM L4_Phosphate_0m_µM L4_Phosphate_10m_µM L4_Phosphate_25m_µM L4_Phosphate_50m_µM Columns 7–26 | Measurements were taken weekly (conditions permitting). Samples were returned (in the cool and dark) to the laboratory in Plymouth as soon as possible. Triplicate samples were analysed using 0.2 µm Millipore Fluoropore filtered and non-filtered water. The analyser used was a five-channel BRAN+LUEBBE segmented flow system. The methodology was standardized according to PML protocols. Since 2007, samples have been analysed as soon as possible after collection. Prior to this, samples were frozen and analysed in batches. Due to the storage method utilized, concentrations of ammonia should be treated with care. It is more appropriate to consider trends than accurate concentrations. Quality control procedures were carried out using KANSO certified reference material. Scientists participated in the Quality Assurance of Information for Marine Environmental Monitoring In Europe (QUASIMEME) programme. This summary dataset provides a mean value of all available determinations within any given calendar month. In the original dataset, the symbol “ | Surface (0 m) data were collected from January 2000 to December 2021. Profiles for 10, 25 and 50 m were collected from January 2012 to December 2021. Full data lists include individual replicate measurements from the weekly resolution sampling. Publicly accessible nutrient data were accessed on 14 July 2022 at https://www.westernchannelobservatory.org.uk/data.php.
L4: carbonate chemistry DIC (dissolved inorganic carbon) and TA (total alkalinity)
L4_DIC_0m_µmol kg−1 L4_DIC_10m_µmol kg−1 L4_DIC_25m_µmol kg−1 L4_DIC_50m_µmol kg−1 L4_TA_0m_µmol kg−1 L4_TA_10m_µmol kg−1 L4_TA_25m_µmol kg−1 L4_TA_50m_µmol kg−1 Columns 27–34 | Measurements were taken weekly (conditions permitting). Borosilicate glass bottles with ground glass stoppers were used to collect seawater from the Niskin bottles. Sample bottles were rinsed, filled and poisoned with mercuric chloride according to standard procedures detailed in Dickson et al. (2007). Samples were returned to PML for analysis. DIC was measured using a dissolved inorganic carbon analyser (Model AS-C3, Apollo SciTech). The analyser adds a strong acid (10 % H3PO4 plus 10 % NaCl solution) that causes carbon species within the seawater to be converted to CO2 gas; this gas is purged from the sample by pure nitrogen (N2) carrier gas and is dried and cooled to reduce water vapour. The concentration of the dried CO2 gas is measured with a LI-COR LI-7000 CO2 analyser. The total amount of CO2 is quantified as the integrated area under the concentration–time curve and converted to DIC using a standard curve created by analysing known concentrations of the certified reference materials (CRMs, Dickson CO2). A measurement volume of 0.75 mL was used, with up to five measurements made from each sample. Values outside a 0.1 % range were excluded from the final result. Duplicate measurements provided an estimate of measurement error of | Surface (0 m) and 50 m measurements were made from October 2008 to December 2020, and 10 and 25 m measurements were made from September 2017 to December 2020. Data are available from the British Oceanographic Data Centre (BODC) at https://doi.org/10.5285/1ec0cae5-071d-16e1-e053-6c86abc07d47 (Cummings et al., 2015) and https://www.westernchannelobservatory.org.uk/C_chem.php (last access: 29 November 2023).
L4: methane (CH4) and nitrous oxide (N2O) concentrations
L4_Ch4_0m nmol L−1 L4_Ch4_10m nmol L−1 L4_Ch4_25m nmol L−1 L4_Ch4_50m nmol L−1 L4_N2O_0m nmol L−1 L4_N2O_10m nmol L−1 L4_N2O_25m nmol L−1 L4_N2O_50m nmol L−1 Columns 35–42 | Borosilicate glass bottles with ground glass stoppers were used to collect seawater from the Niskin bottles for methane and nitrous oxide analysis; both gases were determined from the same bottle. Prior to all depths being collected in 2019, samples were collected in triplicate. Sample bottles were rinsed, filled and poisoned with mercuric chloride according to standard procedures detailed in Dickson et al. (2007). Samples were returned to PML for analysis. All samples were analysed within 3 months of collection. Samples were placed into a water bath at 25 ∘C, and the temperature was equilibrated for a minimum of 1 h before analysis. Samples were analysed by single-phase equilibration gas chromatography using a flame ionization detector for CH4 and an electron capture detector for N2O, similar to the procedure described by Upstill-Goddard et al. (1996). Samples were calibrated against three certified (±5 %) reference standards (Air Products and Chemicals, Inc.) that are traceable to NOAA WMO-N2O-X2006A. Concentrations in seawater at equilibration temperature (∼25 ∘C) and salinity were calculated from the solubility tables of Weiss and Price (1980). | Surface N2O coverage is from 2011, whereas CH4 coverage is from 2013. All four depths were sampled from 2019. Data are available from https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: water 16S alpha diversity
L4_water_prokaryote_diversity _S_0m_16s SEQ (sequencing) L4_water_prokaryote_diversity _Pielou_0m_16s SEQ L4_water_prokaryote_diversity _Shannon_0m_16s SEQ Columns 43–45 | Measurements were taken weekly (conditions permitting). On each sampling date, 5 L of seawater was collected from the surface and filtered immediately (on board) through a 0.22 mm Sterivex cartridge (Millipore). This was then stored at −80 ∘C at PML before further processing. Nucleic acids were extracted using the Qiagen AllPrep DNA/RNA Mini Kit. The Sterivex barrel was first filled with Buffer RLT lysis buffer and heated to 65 ∘C for 30 min. DNA and RNA were then extracted from the lysate following the manufacturer's instructions. DNA samples were used for microbiome analyses by sequencing of 16S rRNA genes using the 515F (GTGYCAGCMGCCGCGGTAA) and 806R (GGACTACNVGGGTWTCTAAT) Earth Microbiome V4 PCR primers. Sequencing was performed on the MiSeq personal sequencer (Illumina, San Diego, CA, USA) using the V2 500 reagent kit by commercial contract (NU-OMICS, UK). Demultiplexed paired-end FASTQ files were analysed using QIIME2 and amplicon sequence variants (ASVs) generated using DADA2. For each sample, the number of ASVs, Pielou evenness and Shannon diversity were calculated. | Data span from February 2012 to November 2019. Data are available from Karen Tait (PML): https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: fluorometer-derived chlorophyll-a concentrations
L4_Chl_0m_Fluorom_mgChl m-3 L4_Chl_10m_Fluorom_mgChl m-3 L4_Chl_25m_Fluorom_mgChl m-3 L4_Chl_50m_Fluorom_mgChl m-3 Columns 46–49 | Measurements were taken weekly (conditions permitting).Triplicate 100 mL water samples were filtered onto 25 mm GFF filters. Samples were extracted overnight at 4 ∘C and analysed on a Turner fluorometer, according to the procedure outlined in Welschmeyer (1994). | Surface (0 m) and 10 m measurements span from February 1992 to 2020 and comprise 1110 and 568 weekly resolution samples, respectively. All depths were sampled from 2018. Publicly accessible nutrient data are available from https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: pigment sums generated from primary pigment data, determined by high-performance liquid chromatography (HPLC)
L4_[TChl a]_0m_HPLC_mg m-3 L4_[TChl]_0m_HPLC_mg m-3 L4_[PPC]_0m_HPLC_mg m-3 L4_[PSC]_0m_HPLC_mg m-3 L4_[PSP]_0m_HPLC_mg m-3 L4_[TAcc]_0m_HPLC_mg m-3 L4_[TPig]_0m_HPLC_mg m-3 L4_[TChl a]_10m_HPLC_mg m-3 L4_[TChl]_10m_HPLC_mg m-3 L4_[PPC]_10m_HPLC_mg m-3 L4_[PSC]_10m_HPLC_mg m-3 L4_[PSP]_10m_HPLC_mg m-3 L4_[TAcc]_10m_HPLC_mg m-3 L4_[TPig]_10m_HPLC_mg m-3 L4_[TChl a]_25m_HPLC_mg m-3 L4_[TChl]_25m_HPLC_mg m-3 L4_[PPC]_25m_HPLC_mg m-3 L4_[PSC]_25m_HPLC_mg m-3 L4_[PSP]_25m_HPLC_mg m-3 L4_[TAcc]_25m_HPLC_mg m-3 L4_[TPig]_25m_HPLC_mg m-3 L4_[TChl a]_50m_HPLC_mg m-3 L4_[TChl]_50m_HPLC_mg m-3 L4_[PPC]_50m_HPLC_mg m-3 L4_[PSC]_50m_HPLC_mg m-3 L4_[PSP]_50m_HPLC_mg m-3 L4_[TAcc]_50m_HPLC_mg m-3 L4_[TPig]_50m_HPLC_mg m-3 Columns 50–77 | Measurements were taken weekly (conditions permitting). Parameter names (if shortened versions are used in column titles) are as follows: [TChl a] is total chlorophyll a = [Chlide a] + [DVChl a] + [Chl a]; [TChl] is total chlorophyll = [TChl a] + [TChl b] + [TChl c]; [PPC] is photoprotective carotenoids = [Allo] + [Diad] + [Diato] + [Zea] + [Caro]; [PSC] is photosynthetic carotenoids = [But] + [Fuco] + [Hex-fuco] + [Perid]; [PSP] is photosynthetic pigments = [PSC] + [TChl]; [TAcc] is total accessory pigments = [PPC] + [PSC] + [TChl b] + [TChl c]; and [TPig] is total pigments = [TAcc] + [TChl a]. Total chlorophyll a = chlorophyllide a + divinyl chlorophyll a + chlorophyll a; this parameter may be underestimated if chlorophyllide a is not quantified. Total chlorophyll b = chlorophyll b + divinyl chlorophyll b. Divinyl chlorophyll b co-elutes with chlorophyll b under the HPLC conditions used to generate these data, so these values were not quantified separately. Divinyl chlorophyll b is not expected to be present in UK waters. Total chlorophyll c = chlorophyll c1 + chlorophyll c2 + chlorophyll c3. Carotenes =βε-carotene +ββ-carotene. Alloxanthin is quantified by both HPLC methods used to generate L4 pigment data. 19′-Butanoyloxyfucoxanthin is quantified by both HPLC methods used to generate L4 pigment data. Diadinoxanthin is quantified by both HPLC methods used to generate L4 pigment data. Diatoxanthin is quantified by both HPLC methods used to generate L4 pigment data. Fucoxanthin is quantified by both HPLC methods used to generate L4 pigment data. 19′-Hexanoloxyfucoxanthin is quantified by both HPLC methods used to generate L4 pigment data. Data generated using the Barlow HPLC method (1999–2011) may include prasinoxanthin (when present).
Peridinin is quantified by both HPLC methods used to generate L4 pigment data. Zeaxanthin is quantified by both HPLC methods used to generate L4 pigment data. Chlorophyll a includes allomers and epimers and is quantified by both HPLC methods used to generate L4 pigment data. Divinyl chlorophyll a is quantified by both HPLC methods used to generate L4 pigment data. Chlorophyllide a was quantified in 2002, 2004–2005 and May 2011 onwards. With respect to chlorophyll b and divinyl chlorophyll b, divinyl chlorophyll b co-elutes with chlorophyll b under the HPLC conditions used to generate these data; thus, these values were not quantified separately. Divinyl chlorophyll b is not expected to be present in UK waters. Chlorophyll c1 is quantified separately from chlorophyll c2 from May 2011 onwards. Chlorophyll c2 includes chlorophyll c1 for data from 1999 to April 2011. Chlorophyll c3 is quantified by both HPLC methods used to generate L4 pigment data. βε-Carotene (alpha-carotene) is quantified separately from ββ-carotene from May 2011 onwards. ββ-Carotene (beta-carotene) includes βε-carotene for data from 1999 to April 2011. The Barlow HPLC method reference was sourced from Barlow et al. (1997). The column used was a MOS-2 Hypersil column (100×4.6 mm, 3 µm particle size). A flow rate of 1 mL min−1 was utilized. The mobile phase was employed, as per Barlow et al. (1997). The extraction solvent and volume were as follows: 90 % acetone and 2 mL. An internal standard was used; trans-β-Apo-8'-carotenal was employed until 2008. The disruption method and time were as follows: sonication (probe) and 35 s. The soak time was 1 h. The clarification procedure was centrifugation. The injection procedure and volume were as follows: autosampler mixes sample with ammonium acetate (1 M) in 50/50 ratio by volume and injects 50 µL. The calibration procedure was a single point technique. Standards were sourced from DHI, Denmark. The absorption coefficients used were those provided with the standards from DHI. The expected capability of the method was not recorded. Quality assurance protocols were as follows: up to 20 samples were analysed per day, so the maximum time of samples in the autosampler was 24 h. The autosampler was maintained at 4 ∘C. The Zapata HPLC method reference was sourced from Zapata et al. (2000).
| The column used was a Waters Symmetry C8 column (150×2.1 mm, 3.5 µm particle size). A flow rate of 200 µL min−1 was utilized. The mobile phase was employed, as described by Zapata et al. (2000). The extraction solvent and volume were as follows: 90 % acetone and 2 mL. No internal standard was used. The disruption method and time used were as follows: sonication (probe) and 35 s. The soak time was 1 h. The clarification procedure was centrifugation and filtration (0.45 µm Teflon syringe filter). The injection procedure and volume were as follows: autosampler mixes 200 µL sample and 80 µL water in a vial, and a total of 25 µL of this mixture is injected (actual injection volume of sample is 17.86 µL). The calibration procedure was a multipoint technique: three solutions bracketing the limit of quantification (LOQ) and three bracketing the expected sample concentration. Standards were sourced from DHI, Denmark. The absorption coefficients used were those provided with standards from DHI. The expected capability of the method was as follows: average precision and accuracy for chlorophyll a (standards) was 1.44 % and 2.01 %, respectively. Quality assurance protocols were as follows: first run of the day was discarded. A sample of mixed pigments was run prior to any samples to check retention times and the resolution of critical pairs. Three samples of chlorophyll standard were analysed with each sample set to check that the response factor is within 5 % of the calibration value. Up to 20 samples are analysed per day, so the maximum time of samples in the autosampler was 24 h. The autosampler was maintained at 4 ∘C. Pipette accuracy was determined daily by weighing. | Surface coverage is from March 1999 to December 2014, whereas coverage for 10, 25 and 50 m depths is from 2009 onwards (some gaps in data) until 2014. Source data are available from https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4:
L4_Syn_0m_FCM_cells mL-1 L4_Picoeuk_0m_FCM_cells mL-1 L4_Nanoeuk_0m_FCM_cells mL-1 L4_Cocco_0m_FCM_cells mL-1 L4_Crypto_0m_FCM_cells mL-1 L4_HNan_0m_FCM_cells mL-1 L4_HNAbacteria_0m_FCM_cells mL-1 L4_LNAbacteria_0m_FCM_cells mL-1 L4_Syn_10m_FCM_cells mL-1 L4_Picoeuk_10m_FCM_cells mL-1 L4_Nanoeuk_10m_FCM_cells mL-1 L4_Cocco_10m_FCM_cells mL-1 L4_Crypto_10m_FCM_cells mL-1 L4_HNan_10m_FCM_cells mL-1 L4_HNAbacteria_10m_FCM_cells mL-1 L4_LNAbacteria_10m_FCM_cells mL-1 L4_Syn_25m_FCM_cells mL-1 L4_Picoeuk_25m_FCM_cells mL-1 L4_Nanoeuk_25m_FCM_cells mL-1 L4_Cocco_25m_FCM_cells mL-1 L4_Crypto_25m_FCM_cells mL-1 L4_HNan_25m_FCM_cells mL-1 L4_HNAbacteria_25m_FCM_cells mL-1 L4_LNAbacteria_25m_FCM_cells mL-1 L4_Syn_50m_FCM_cells mL-1 L4_Picoeuk_50m_FCM_cells mL-1 L4_Nanoeuk_50m_FCM_cells mL-1 L4_Cocco_50m_FCM_cells mL-1 L4_Crypto_50m_FCM_cells mL-1 L4_HNan_50m_FCM_cells mL-1 L4_HNAbacteria_50m_FCM_cells mL-1 L4_LNAbacteria_50m_FCM_cells mL-1 Columns 78–109 | Measurements were taken weekly (conditions permitting). Samples were analysed in triplicate (phytoplankton and bacteria) or duplicate (heterotrophic nanoflagellates). Vertical profiles of the mean abundance of groups of microbial plankton, presented as cells per millilitre, were measured using flow cytometry (BD Accuri C6 flow cytometer). The groups quantified were divided into phytoplankton and heterotrophs. Phytoplankton groups quantified were as follows: Syn – Synechococcus sp. (cyanobacteria); Picoeuk – picoeukaryotes (smaller than 3 µm); Crypto – cryptophytes; Cocco – coccolithophores; and Nanoeuk – nanoeukaryotes (not already mentioned; 2–20 µm). Heterotrophs quantified were as follows: HNan – heterotrophic nanoflagellates; HNAbacteria – heterotrophic bacteria with relatively high nucleic acid content; and LNAbacteria – heterotrophic bacteria with relatively low nucleic acid content. | Data span from April 2007 to December 2021. Source data are available from https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: microscopy analysis of phytoplankton preserved in Lugol's solution and formalin
L4_Diatoms_10m_microscopy _cells mL-1 L4_Dinoflagellates_10m_microscopy_cells mL-1 L4_Coccolithophores_10m _microscopy_cells mL-1 L4_Flagellates_10m_microscopy _cells mL-1 L4_Phaeocystis_10m_microscopy _cells mL-1 L4_Ciliates_10m_microscopy _cells mL-1 L4_Diatoms_10m_microscopy_mgC m-3 L4_Dinoflagellates_10m_microscopy_mgC m-3 L4_Coccolithophorid_10m_microscopy_mgC m-3 L4_Flagellates_10m_microscopy_mgC m-3 L4_Phaeocystis_10m_microscopy_mgC m-3 L4_Ciliates_10m_microscopy_mgC m-3 Columns 110-121 | Measurements were taken weekly (conditions permitting). Paired 200 mL water samples collected from 10 m depth using a Niskin bottle attached to the CTD were immediately fixed in (1) acid Lugol's iodine (for all taxa except coccolithophores) and (2) neutral formaldehyde for coccolithophores. Subsamples were analysed by light microscopy using the settlement technique (Utermohl, 1958), identified to the species level where possible, and organized into six functional groups. The mean cell dimensions of each taxa were used to calculate species-specific biovolumes which were converted to carbon biomass using the equations of Menden-Deuer and Lessard (2000). Abundance data are presented as cells per millilitre and biomass as milligrams of carbon per cubic metre. Note that sample collection was via a deck hose in 2005. This caused damage to the fragile ciliates; hence, the count is much lower for that year. | Data for a single depth (10 m) are available from October 1992 to December 2020, except for gaps in sampling between October 1994 and May 1995 and in December 2011. Data are available from the British Oceanographic Data Centre (BODC): http://doi.org/10.5285/c9386b5c-b459-782f-e053-6c86abc0d129 (Widdicombe and Harbour, 2021) and https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: FlowCam analysis of 63 µm mesh plankton net hauls (50–0 m)
L4_Total_Diatoms_FlowCam_ mgC m-3 L4_Total_Dinoflagellates_ FlowCam_mgC m-3 L4_Ciliates_FlowCam_mgC m-3 L4_Colony flagellates_FlowCam_mgC m-3 L4_Large_Protists_FlowCam_ mgC m-3 L4_Total_Copepod nauplii_FlowCam_mgC m-3 Columns 122–127 | Measurements were taken weekly (conditions permitting). Water samples were collected from a 0–50 m vertical haul using a 63 µm mesh WP2-style net (UNESCO, 1968, p. 153–157). There was a mesh change in July 2019: from 63 to 50 µm. Prior to analysis, samples were prescreened using a 300 µm mesh. However, net samples collected between June 2015 and May 2016 were prescreened using a 200 µm mesh. Samples were analysed live, if possible, using a FlowCam VS IV model fitted with a 300 µm flow cell. Analysis was carried out using ×4 magnification and auto-image mode. Classification of the acquired images was carried out using VisualSpreadsheet (2012–2016) and EcoTaxa (2017–2019). Taxa were then assigned to six broad functional groups. The mean cell dimensions of each taxa were used to calculate species-specific biovolumes which were converted to carbon biomass using suitable carbon conversion equations. Biomass is presented as milligrams of carbon per cubic metre. For diatoms, dinoflagellates (excluding Noctiluca and Neoceratium spp.) and ciliates, morphological information and shape assignment was used to calculate biovolume (Álvarez et al., 2012, their Table 1). For Noctiluca and for Neoceratium spp., mean cell volumes were taken from Widdicombe et al. (2010). For all other dinoflagellates, diatoms and ciliates, cell biovolumes were converted to carbon biomass using the equations of Menden-Deuer and Lessard (2000). For large protists mostly Radiolaria, the carbon conversion in Michaels et al. (1995) was used. Colonial flagellates were converted to carbon according to Børsheim and Bratbak (1987). Biomass of copepod nauplii was calculated using the equations of Uye et al. (1996). | Data spanning from September 2012 to December 2013 are from 43 time points, whereas those from June 2015 to December 2019 are from 163 time points. Abundance data are also available for meroplankton taxa, but these have not been converted to biomass to date. Source data are available from https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: Noctiluca scintillans microscopy analysis of WP2 net hauls (50–0 m)
L4_Noctiluca_scintillans_ WP2net_no.m-3 L4_Noctiluca_scintillans_ WP2net_mcgC.m-3 Columns 128–129 | Measurements were taken weekly (conditions permitting). Two vertical hauls (50–0 m) were taken using 200 µm WP2 nets (UNESCO, 1968, p. 153–157). Both replicates' samples were analysed by subsampling, enumerated and identified, currently using an Olympus SZX16 stereo microscope fitted with a SZX2-ILLT LED transmitted-light illuminator stand. Source data represent weekly average abundance across the two replicates and were converted to number per cubic metre. Monthly abundance represents an arithmetic mean value from between one and five visits in any given month and on a weekly basis. Biomass calculations were derived from abundance data using a conversion factor of 0.020375 µg C per cell using the equations of Menden-Deuer and Lessard (2000). Be aware that zeros are present from 2009 onwards where there is confidence in the data. A zero represents “looked for but not present in the sample analysed”. Data prior to this are less certain, so zeros have been omitted. | Data are available from July 1997 to 2021 and are given in McEvoy et al. (2022a). Zooplankton abundance time series from net hauls at site L4 off Plymouth, UK, between 1988 and 2021. Data are available from the British Oceanographic Data Centre (BODC): https://doi.org/10.5285/e785f2f7-05d5-2f47-e053-6c86abc08bee (McEvoy et al., 2022a) and https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: zooplankton microscopy analysis of WP2 net hauls (50–0 m)
L4_meroplankton_WP2net_no.m-3 L4_small_copepods_WP2net_no.m-3 L4_large_copepods_WP2net_no.m-3 L4_fish_ larvae_WP2net_no.m-3 L4_gelatinous_predators_WP2net_no.m-3 L4_semi-gelatinous_predators_WP2net_no.m-3 L4_other_crustacean_holoplankton_WP2net _no.m-3 L4_other_non-crustacean_holoplankton_WP2net_no.m-3 L4_meroplankton_WP2net_mgCm-3 L4_small_copepods_WP2net_mgCm-3 L4_large_copepods_WP2net_mgCm-3 L4_fish_larvae_WP2net_mgCm-3 L4_gelatinous_predators_WP2net_mgCm-3 L4_semi-gelatinous_predators_WP2net_mgCm-3 L4_other_crustacean_holoplankton_WP2net _mgCm-3 L4_other_non_crustacean_holoplankton_WP2net _mgCm-3 Columns 130–145 | Measurements were taken weekly (conditions permitting). Two vertical hauls (50–0 m) were taken using 200 µm WP2 nets (UNESCO, 1968). Both replicates' samples were analysed by subsampling, enumerated and identified, currently using an Olympus SZX16 stereo microscope fitted with a SZX2-ILLT LED transmitted-light illuminator stand. More details are provided in Atkinson et al. (2015). Source data comprise the average abundance of the taxa that have been consistently identified since 1988. These source data are weekly averages across the two replicates, converted to number per cubic metre, and estimated biomass. Data presented here have been aggregated into functional groups broadly based on the life-forms for policy reporting in Ostle et al. (2021). There has, however, been a few further subdivisions to better reflect trophic mode. These functional group allocations are coded, and number-to-biomass conversion factors are provided within the “trait” header bar data from the source dataset. Therefore there are eight functional groups based partly on size, taxonomy and trophic mode, with separate columns for abundance and estimated biomass. Because biomass is a derived property, often with different conversion factors between the four seasons (see data source DOI), it is best to use numerical abundance data for population dynamics studies and biomass data for models, carbon budgets etc. As previously stated, the groups comprise the whole of the consistently identified zooplankton; therefore, adding them will give a good estimate of total metazoan zooplankton with the exception of ctenophores (see below). Meroplankton comprise all 14 taxa with code no. 38. They are numerically dominated by Cirripedia larvae. The biomass is strongly dominated by the larvae of Cirripedia, Decapoda and Polychaeta as well as Gammaridea amphipods. Fish and cnidarians are excluded, some of whom are meroplanktonic, but are all pooled within the “Fish larvae” and “Gelatinous predators” life-forms instead. Small copepods, excluding nauplii, are grouped under code no. 36 with the addition of the uncoded harpacticoid copepods. They are species with a total adult body length under 2 mm. They comprise 20 taxa dominated numerically by the Oithona, Oncaea, Paracalanus and Pseudocalanus genera and in biomass by Pseudocalanus, Temora and Paracalanus. Large copepods comprise eight taxa with code no. 36 and are species with a total body length of 2 mm or greater. Their numbers and biomass are strongly dominated by Calanus helgolandicus. Fish larvae, following the life-forms group for plankton reporting in Ostle et al. (2021), include eggs and larvae pooled, but the fish eggs have been omitted here to better describe the abundance of actively carnivorous groups. Gelatinous predators comprise cnidarians only, and they are dominated in terms of numbers and biomass by siphonophores. A notable taxon not included is ctenophores, due to potential inconsistency in counting in early years and due to preservation issues, which we are in the process of resolving. Semi-gelatinous predators comprise chaetognaths and Tomopteris spp., with numbers and biomass strongly dominated by the former. Other crustacean holoplankton are the remaining groups of crustacean holoplankton not covered above, namely, Evadne spp. Podon spp., Hyperiidae amphipods, mysids, and the various nauplii to adult stages of euphausiids. They are strongly dominated numerically and in terms of biomass by the Cladocerans (miscoded as non-crustaceans in the source file). Other non-crustacean holoplankton are the remaining groups of crustacean holoplankton not covered above, namely, appendicularians, Limacina spp., doliolids and Clione spp. They are strongly dominated numerically and in terms of biomass by appendicularians. | Data span from March 1988 to December 2020 and were derived from 1452 sampling time points with a weekly resolution. Monthly mean data are available for each intervening month except August 2000 and typically represent an arithmetic mean value across between one and five weekly visits in any given month. Data are given in McEvoy et al. (2022b). Data are available from the British Oceanographic Data Centre (BODC): https://doi.org/10.5285/d7fb6ce3-7bc9-307b-e053-6c86abc0671b and https://www.westernchannelobservatory.org.uk/l4_zooplankton.php (last access: 29 November 2023).
L4: Calanus helgolandicus weekly egg production using females from the western English Channel site L4
L4_Calanus_eggs_watercolumn_expt_eggs per female per day Column 146 | Measurements were taken weekly (conditions permitting). A live sample was collected and returned in the cool and dark to the laboratory in Plymouth as soon as possible. The sample was gently poured through a 200 µm mesh sieve. Calanus sp. females in healthy condition were picked out gently using stork-billed forceps under a microscope as quickly as possible. Five replicates, each containing five female Calanus sp., were incubated in the dark in filtered seawater for 24 h. Each beaker contained an egg collector. Temperature followed ambient conditions at the L4 surface. The eggs produced were collected and counted. Females were identified for species. Eggs were retained for hatching success. | The data span from February 1992 to November 2021 (where the availability of Calanus females allows). Data represent the mean number of eggs per female per day. Data are given in McEvoy et al. (2022c) and are available from https://doi.org/10.5285/e28496a4-0c72-0e7a-e053-6c86abc0d7c7 and https://www.westernchannelobservatory.org.uk/calanus_egg_production.php (last access: 29 November 2023).
L4: sediment 16S alpha diversity
L4_sediment_prokaryote_diversity_S_0m_16S SEQ L4_sediment_prokaryote_diversity_Pielou_0m_16s SEQ L4_sediment_prokaryote_diversity_Shannon_0m_16s SEQ Columns 147–149 | Sediments were collected using a box corer, and the uppermost 0–1 cm was carefully sampled by scraping into a sterile 2 mL tube. Eight replicate samples were taken for each sampling time, and four of those were employed for DNA extraction using 0.5 g sediment and Qiagen's DNeasy PowerSoil Kit according to the manufacturer's instructions. The 16S rRNA genes were sequenced using the Earth Microbiome V4 515F (GTGYCAGCMGCCGCGGTAA) and 806R (GGACTACNVGGGTWTCTAAT) PCR primers. Sequencing was performed on the MiSeq personal sequencer (Illumina, San Diego, CA, USA) using the V2 500 reagent kit by commercial contract (NU_OMICS, UK). Demultiplexed paired-end FASTQ files were analysed using QIIME2 and amplicon sequence variants (ASVs) generated using DADA2. For each sampling occasion, the mean number of ASVs for the four replicates was calculated (S), along with the Pielou evenness and Shannon diversity. | Data span from February 2012 to 2019. In 2012 and from 2014 to 2019, the aim was to sample monthly when possible. In 2013, samples were collected in February and September only. Data are available from Karen Tait (PML): https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: benthic fauna from box cores
L4_Macrofaunal Deposit Feeders_50m_0.1m3 Box Core_Average abundance of individual taxa per month L4_Macrofaunal Suspension Feeders_50m_0.1m3 Box Core_Average abundance of individual taxa per month L4_Macrofaunal Predators_50m_0.1m3 Box Core_Average abundance of individual taxa per month L4_Macrofaunal Scavengers_50m_0.1m3 Box Core_Average abundance of individual taxa per month L4_Macrofaunal Deposit Feeders_50m_0.1m3 Box Core_Average biomass of individual taxa per month L4_Macrofaunal Suspension Feeders_50m_0.1m3 Box Core_Average biomass of individual taxa per month L4_Macrofaunal Predators_50m_0.1m3 Box Core_Average biomass of individual taxa per month L4_Macrofaunal Scavengers_50m_0.1m3 Box Core_Average biomass of individual taxa per month Columns 150–157 | Measurements were taken monthly (conditions permitting). Four or five replicate 0.1 m3 box cores of sediment were collected from 50 m depth. All sediment collected was sieved over a 0.5 mm mesh, and retained fauna was preserved in 10 % formaldehyde solution. Source taxa were identified and counted using stereo and compound microscopy to the species level or the lowest possible taxonomic resolution. The abundance and blotted wet weight (0.00000 g) per taxa were recorded per 0.1 m3 box core sample. From four principle feeding traits, based on information primarily gathered from the BIOTIC database, one unique principle trait was assigned per taxa: calculated using algorithms based upon body composition, maximum length and body mass (https://www.marlin.ac.uk/biotic/ (last access: 6 December 2023)). | July 2008 to July 2019. Abundance and biomass data from 65 time points are presented as monthly averages per corresponding feeding trait: suspension feeders, deposit feeders, scavengers and carnivores. Mesher and McNeill (2022). Data are available from the British Oceanographic Data Centre (BODC): https://doi.org/10.5285/d9f44202-b0d4-646c-e053-6c86abc018c6 and https://www.westernchannelobservatory.org.uk/data.php (last access: 29 November 2023).
L4: Cephalopoda and demersal fish families by trawling
L4_Cephalopoda_abundance_50-60m_Standard_Haul_individuals. trawl-1 L4_Bothidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Soleidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Callionymidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Caproidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Cepolidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Triglidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Clupeidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Engraulidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Pleuronectidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Gadidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Merlucciidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Mullidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Carangidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Zeidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Gobiidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Scombridae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Scyliorhinidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Scophthalmidae_abundance_50-60m_Standard_Haul_individuals.trawl-1 L4_Cephalopoda biomass_50-60m_Standard_Haul_g.trawl-1 L4_Bothidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Soleidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Callionymidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Cepolidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Triglidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Clupeidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Engraulidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Pleuronectidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Gadidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Merlucciidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Mullidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Carangidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Zeidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Scombridae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Scyliorhinidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Lophiidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Triakidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Scophthalmidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Rajidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Lotidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Moronidae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Congridae biomass_50-60m_Standard_Haul_g.trawl-1 L4_Squalidae biomass_50-60m_Standard_Haul_g.trawl-1 Columns 158–200 | Standard hauls were collected using a large otter trawl (2008–June 2014), a Channel Hunter box trawl (July 2014–March 2015) deployed from Plymouth Quest, and a modified Channel Hunter box trawl (April 2015–September 2018) deployed from MBA Sepia. The trawl duration was approximately 40 min. Only trawls from 50 to 60 m were included. Individuals were identified to the species level, measured (mm) and weighed (g) on board. If a species was abundant, a subsample was weighed and total biomass was extrapolated. The abundances and biomass are reported at the family level, and only families comprising at least a 1 % contribution in at least 1 month are included. | Data span from April 2008 to September 2018. Between one and seven trawls were collected per month sampled (total of 282 and average of 2.88). Source data for 2015–2018 are available from the Data Archive for Seabed Species (DASSH): https://doi.org/10.17031/1802 (Brittain, 2021).