## Worksheet 1
Site | Target variable | Height/depth | Period | Description of the issue | Treatment
Arou | Rld | – | 2015, 2021 | Most of the incorrect data in Rld in 2015 can be accurately detected by the automated system; however, data points that were within the threshold range but significantly higher in other years cannot be diagnosed. | The QC codes of the significantly high data were manually adjusted to 1.
| Rlu | – | 2015, 2021 | The issue was mostly consistent with the Rld data, yet some of the data points were noticeably lower than in other years. | The QC codes of the significantly high data were manually adjusted to 1.
| Rsd | – | 2015, 2021 | There was no seasonal variation in the data, and all values were noticeably lower than in other years. | Label all data as errors.
| Rld | – | 2015, 2021 | There was no seasonal variation in the data, and all values were noticeably higher than in other years. | Label all data as errors.
| SM | 3.2 m | 2015, 2021 | The seasonal variation in the data during this period was noticeably different from that of other years. | Label all data as errors.
Jingyangling | Rlu | – | 2016–2021 | A few successive data points had values within the threshold range, but their seasonal variation was abnormal. | Label all data as errors.
| Ta | 5 m | 17 Jul–5 Aug 2017 | Temperatures during this period were far higher than those of other years over the same period, sometimes exceeding 20 °C, which has never been recorded. | Label all data as errors.
| WS | 10 m | 29 Oct 2014–15 Jul 2017 | The seasonal variations in wind speed in terms of daily mean, minimum, and maximum during this period were noticeably lower than in other periods. | The QC codes were manually adjusted to 2.
| H and LE | – | 1 Jan 2021–31 Dec 2021 | Abnormally large turbulent fluxes were frequently observed. | The QC codes were manually adjusted to 2.
NASED | H | – | 14 May 2019 | A very large negative value (−410 W m−2) was found, and it was confirmed that the value was incorrect. | The QC code was manually adjusted to 2.
| Ta | 2.8 m | 25 Nov 2009, 26 Nov 2009, 7 Jun 2015, 14 Jun 2017, 25 May 2020 | A few successive data points had values within the threshold range, but their values were extremely low. There was a noticeable temperature difference between the 1.5 and 2.8 m observations. | The QC codes were manually adjusted to 2.
NAMORS | Rld | – | 16 Jun 2016–25 Oct 2019 | The seasonal variations in Rld in terms of daily mean, minimum, and maximum during this period were noticeably higher than in other periods. | The QC codes were manually adjusted to 2.
| ST | 0.1 m | 16 Oct 2008–6 Oct 2018 | The ST values were much lower than those observed at the 0.2 m in all seasons, which was inconsistent with reality even though the data for this period were within the threshold range and showed significant seasonal variations. | The QC codes were manually adjusted to 1.
| ST | 0.1 m | 12 Sep 2019–24 Sep 2019 | A few successive data points had values within the threshold range, but their values were extremely low. | The QC codes were manually adjusted to 1.
SETORS | Ta | 1.3 m | 5 Dec 2010–8 Dec 2010, 31 Oct 2016–7 Nov 2016, 2 Dec 2016–29 Dec 2016 | There was a noticeable temperature difference between 1.3 and 4.94 m. | The QC codes were manually adjusted to 2.
TGL | Rlu | – | 29 May 2018–21 Jun 2021 | Most of the Rlu values in this station are negative, and the accuracy of the non-negative values cannot be guaranteed. | All the QC codes were manually adjusted to 1.
| Rld | – | 29 May 2018–21 Jun 2021 | Same as the Rlu. | All the QC codes were manually adjusted to 1.