## Worksheet 1
Measurement | Model | Description | Installation
Snow surfacetemperature | Heitronics CT15.85 | TIR radiometer – pyroelectric chopped radiation method; spectral response in the range 9.6 to 11.5 µm; declared measurement uncertainty ±0.5 K +0.7ΔT | 1 at AWS-North,1 at AWS-South
| Campbell Scientific IR120 | TIR radiometer; spectral response in the range 8 to 14 µm; declared measurement uncertainty ±0.2 K | 1 at AWS-North,2 at AWS-South
Incoming longwaveradiation | Hukseflux IR02 | Measures radiation in the 4.5 to 42 µm range; the FOV angle is 150° | 1 at AWS-North
| Kipp & Zonen CGR3 | Measures radiation in the 4.5 to 42 µm range; the FOV angle is 150° | 1 at AWS-South
Air temperature andhumidity | Vaisala HMP155A | Measurement of temperature in the −80 to +60 °C range; relative humidity in the 0 to 100 % range | 1 at AWS-North,1 at AWS-South
Wind speed | MetOne 014A | Three-cup anemometer; measures wind speed in the 0.45 to 45 m s−1 range with 1.5 % accuracy | 1 at AWS-South