## Worksheet 1
Instrument type (height) | Manufacturer | Model | Accuracy | Calibration
Barometer (1.5 m) | Campbell Scientific | CS100/Setra 278 | ±2 hPa | None
Thermometer (2.6 m) | Rotronic in rotronic assembly | MP100H-4-1-03-00-10DIN | ±0.1 K | 5 years
Hygrometer (2.6 m) | Rotronic in rotronic assembly | Hygro Clip HC2 | ±0.8 % | 1–2 years
Anemometer (2.8 m) | R. M. Young | 05103-5 | ±0.2 m s−1 or | None
1 % of reading
Radiometer (2.6 m) | Kipp and Zonen | CNR1 or CNR4 | ±10 % | 4 years
Sonic ranger | Campbell Scientific | SR50A | ±1 cm or 0.6 %–0.8 % | 1–2 years
Pressure transducer | Ørum & Jensen in GEUS assembly | NT1400 | ±2.5 cm | 3–4 years
Inclinometer (2.6 m) | HL Planar in GEUS assembly | NS-25/E2 | 0.6 % | None