## Worksheet 1
GHOST component name | Chemical formula | Long componentname | Standard unit | Minimum permitted measurement resolution | Extreme lower limit | Extreme upper limit | Extreme upper monthly median
gas
sconco3 | O3 | Ozone | nmol mol−1 | 1 | 0 | 400 | 120
sconcno | NO | Nitrogen monoxide | nmol mol−1 | 1 | 0 | 1200 | 250
sconcno2 | NO2 | Nitrogen dioxide | nmol mol−1 | 1 | 0 | 600 | 200
sconcso2 | SO2 | Sulphur dioxide | nmol mol−1 | 2 | 0 | 3000 | 750
sconcco | CO | Carbon monoxide | nmol mol−1 | 20 | 0 | 30 000.0 | 7500
sconcch4 | CH4 | Methane | nmol mol−1 | 20 | 0 | 50 000.0 | 5000
sconcc2h4 | C2H4 | Ethene | pmol mol−1 | 100 | 0 | 500 000.0 | 50 000.0
sconcc2h6 | C2H6 | Ethane | pmol mol−1 | 100 | 0 | 500 000.0 | 50 000.0
sconcc3h6 | C3H6 | Propene | pmol mol−1 | 100 | 0 | 500 000.0 | 50 000.0
sconcc3h8 | C3H8 | Propane | pmol mol−1 | 100 | 0 | 500 000.0 | 50 000.0
sconcisop | C5H8 | Isoprene | pmol mol−1 | 100 | 0 | 500 000.0 | 50 000.0
sconcc6h6 | C6H6 | Benzene | pmol mol−1 | 100 | 0 | 500 000.0 | 50 000.0
sconcc7h8 | C7H8 | Toluene | pmol mol−1 | 100 | 0 | 500 000.0 | 50 000.0
sconcc10h16 | C10H16 | Monoterpenes | pmol mol−1 | 100 | 0 | 500 000.0 | 50 000.0
sconcnmvoc | – | Total non-methane volatile organic compounds | nmol mol−1 | 20 | 0 | 20 000.0 | 5000
sconcvoc | – | Total volatile organic compounds | nmol mol−1 | 50 | 0 | 70 000.0 | 10 000.0
sconnmhc | – | Total non-methane hydrocarbons | nmol mol−1 | 20 | 0 | 20 000.0 | 5000
sconchc | – | Total hydrocarbons | nmol mol−1 | 50 | 0 | 70 000.0 | 10 000.0
sconcnh3 | NH3 | Ammonia | nmol mol−1 | 1 | 0 | 1000 | 100
sconchno3 | HNO3 | Nitric acid | nmol mol−1 | 0.1 | 0 | 25 | 5
sconcpan | C2H3NO5 | Peroxyacetyl nitrate | nmol mol−1 | 0.1 | 0 | 25 | 5
sconchcho | CH2O | Formaldehyde | nmol mol−1 | 0.2 | 0 | 100 | 25
sconchcl | HCl | Hydrochloric acid | nmol mol−1 | 0.1 | 0 | 25 | 5
sconchf | HF | Hydrofluoric acid | nmol mol−1 | 1 | 0 | 1000 | 200
sconch2s | H2S | Hydrogen sulfide | nmol mol−1 | 1 | 0 | 1000 | 200
PM
sconcal | Al | Total particulate aluminium | ng m−3 | 20 | 0 | 50 000.0 | 5000
sconcas | As | Total particulate arsenic | ng m−3 | 1 | 0 | 1000 | 200
sconcbc | C | Total particulate black carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
sconcc | C | Total particulate carbon | µg m−3 | 20 | 0 | 50 000.0 | 5000
sconcca | Ca2+ | Total particulate calcium | µg m−3 | 0.2 | 0 | 100 | 20
sconccd | Cd | Total particulate cadmium | ng m−3 | 0.2 | 0 | 500 | 75
sconccl | Cl− | Total particulate chloride | µg m−3 | 0.2 | 0 | 150 | 30
sconccobalt | Co | Total particulate cobalt | ng m−3 | 0.1 | 0 | 50 | 5
sconccr | Cr | Total particulate chromium | ng m−3 | 1 | 0 | 500 | 100
sconccu | Cu | Total particulate copper | ng m−3 | 1 | 0 | 750 | 150
sconcec | C | Total particulate elemental carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
sconcfe | Fe | Total particulate iron | ng m−3 | 20 | 0 | 50 000.0 | 5000
sconchg | Hg | Total particulate mercury | pg m−3 | 10 | 0 | 30 000.0 | 3000
sconck | K+ | Total particulate potassium | µg m−3 | 0.2 | 0 | 50 | 10
sconcmg | Mg2+ | Total particulate magnesium | µg m−3 | 0.2 | 0 | 50 | 10
sconcmn | Mn | Total particulate manganese | ng m−3 | 2 | 0 | 5000 | 500
sconcmsa | CH4O3S | Total particulate methanesulfonic acid | µg m−3 | 0.2 | 0 | 75 | 25
sconcna | Na+ | Total particulate sodium | µg m−3 | 0.2 | 0 | 150 | 30
sconcnh4 | NH4+ | Total particulate ammonium | µg m−3 | 0.2 | 0 | 150 | 30
sconcnh4no3 | NH4NO3 | Total particulate ammonium nitrate | µg m−3 | 0.2 | 0 | 150 | 30
sconcni | Ni | Total particulate nickel | ng m−3 | 5 | 0 | 10 000.0 | 1000
sconcno3 | NO3- | Total particulate nitrate | µg m−3 | 0.2 | 0 | 250 | 75
sconcoc | C | Total particulate organic carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
sconcpb | Pb | Total particulate lead | ng m−3 | 50 | 0 | 60 000.0 | 15 000.0
sconcse | Se | Total particulate selenium | ng m−3 | 0.2 | 0 | 150 | 30
sconcso4 | SO42- | Total particulate sulfate | µg m−3 | 0.2 | 0 | 150 | 30
sconcso4nss | SO42- | Total particulate sulfate: non-sea salt | µg m−3 | 0.2 | 0 | 150 | 30
sconcso4ss | SO42- | Total particulate sulfate: sea salt | µg m−3 | 0.2 | 0 | 150 | 30
sconcv | V | Total particulate vanadium | ng m−3 | 0.2 | 0 | 100 | 20
sconczn | Zn | Total particulate zinc | ng m−3 | 20 | 0 | 30 000.0 | 5000
PM10
pm10 | – | Total PM10 | µg m−3 | 20 | 0 | 50 000.0 | 5000
pm10al | Al | PM10 aluminium | ng m−3 | 20 | 0 | 50 000.0 | 5000
pm10as | As | PM10 arsenic | ng m−3 | 1 | 0 | 1000 | 200
pm10bc | C | PM10 black carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
pm10c | C | PM10 carbon | µg m−3 | 20 | 0 | 50 000.0 | 5000
pm10ca | Ca2+ | PM10 calcium | µg m−3 | 0.2 | 0 | 100 | 20
pm10cd | Cd | PM10 cadmium | ng m−3 | 0.2 | 0 | 500 | 75
pm10cl | Cl− | PM10 chloride | µg m−3 | 0.2 | 0 | 150 | 30
pm10cobalt | Co | PM10 cobalt | ng m−3 | 0.1 | 0 | 50 | 5
pm10cr | Cr | PM10 chromium | ng m−3 | 1 | 0 | 500 | 100
pm10cu | Cu | PM10 copper | ng m−3 | 1 | 0 | 750 | 150
pm10ec | C | PM10 elemental carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
pm10fe | Fe | PM10 iron | ng m−3 | 20 | 0 | 50 000.0 | 5000
pm10hg | Hg | PM10 mercury | pg m−3 | 10 | 0 | 30 000.0 | 3000
pm10k | K+ | PM10 potassium | µg m−3 | 0.2 | 0 | 50 | 10
pm10mg | Mg2+ | PM10 magnesium | µg m−3 | 0.2 | 0 | 50 | 10
pm10mn | Mn | PM10 manganese | ng m−3 | 2 | 0 | 5000 | 500
pm10msa | CH4O3S | PM10 methanesulfonic acid | µg m−3 | 0.2 | 0 | 75 | 25
pm10na | Na+ | PM10 sodium | µg m−3 | 0.2 | 0 | 150 | 30
pm10nh4 | NH4+ | PM10 ammonium | µg m−3 | 0.2 | 0 | 150 | 30
pm10nh4no3 | NH4NO3 | PM10 ammonium nitrate | µg m−3 | 0.2 | 0 | 150 | 30
pm10ni | Ni | PM10 nickel | ng m−3 | 5 | 0 | 10 000.0 | 1000
pm10no3 | NO3- | PM10 nitrate | µg m−3 | 0.2 | 0 | 250 | 75
pm10oc | C | PM10 organic carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
pm10pb | Pb | PM10 lead | ng m−3 | 50 | 0 | 60 000.0 | 15 000.0
pm10se | Se | PM10 selenium | ng m−3 | 0.2 | 0 | 150 | 30
pm10so4 | SO42- | PM10 sulfate | µg m−3 | 0.2 | 0 | 150 | 30
pm10so4nss | SO42- | PM10 sulfate: non-sea salt | µg m−3 | 0.2 | 0 | 150 | 30
pm10so4ss | SO42- | PM10 sulfate: sea salt | µg m−3 | 0.2 | 0 | 150 | 30
pm10v | V | PM10 vanadium | ng m−3 | 0.2 | 0 | 100 | 20
pm10zn | Zn | PM10 zinc | ng m−3 | 20 | 0 | 30 000.0 | 5000
PM2.5
pm2p5 | – | Total PM2.5 | µg m−3 | 20 | 0 | 50 000.0 | 5000
pm2p5al | Al | PM2.5 aluminium | ng m−3 | 20 | 0 | 50 000.0 | 5000
pm2p5as | As | PM2.5 arsenic | ng m−3 | 1 | 0 | 1000 | 200
pm2p5bc | C | PM2.5 black carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
pm2p5c | C | PM2.5 carbon | µg m−3 | 20 | 0 | 50 000.0 | 5000
pm2p5ca | Ca2+ | PM2.5 calcium | µg m−3 | 0.2 | 0 | 100 | 20
pm2p5cd | Cd | PM2.5 cadmium | ng m−3 | 0.2 | 0 | 500 | 75
pm2p5cl | Cl− | PM2.5 chloride | µg m−3 | 0.2 | 0 | 150 | 30
pm2p5cobalt | Co | PM2.5 cobalt | ng m−3 | 0.1 | 0 | 50 | 5
pm2p5cr | Cr | PM2.5 chromium | ng m−3 | 1 | 0 | 500 | 100
pm2p5cu | Cu | PM2.5 copper | ng m−3 | 1 | 0 | 750 | 150
pm2p5ec | C | PM2.5 elemental carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
pm2p5fe | Fe | PM2.5 iron | ng m−3 | 20 | 0 | 50 000.0 | 5000
pm2p5hg | Hg | PM2.5 mercury | pg m−3 | 10 | 0 | 30 000.0 | 3000
pm2p5k | K+ | PM2.5 potassium | µg m−3 | 0.2 | 0 | 50 | 10
pm2p5mg | Mg2+ | PM2.5 magnesium | µg m−3 | 0.2 | 0 | 50 | 10
pm2p5mn | Mn | PM2.5 manganese | ng m−3 | 2 | 0 | 5000 | 500
pm2p5msa | CH4O3S | PM2.5 methanesulfonic acid | µg m−3 | 0.2 | 0 | 75 | 25
pm2p5na | Na+ | PM2.5 sodium | µg m−3 | 0.2 | 0 | 150 | 30
pm2p5nh4 | NH4+ | PM2.5 ammonium | µg m−3 | 0.2 | 0 | 150 | 30
pm2p5nh4no3 | NH4NO3 | PM2.5 ammonium nitrate | µg m−3 | 0.2 | 0 | 150 | 30
pm2p5ni | Ni | PM2.5 nickel | ng m−3 | 5 | 0 | 10 000.0 | 1000
pm2p5no3 | NO3- | PM2.5 nitrate | µg m−3 | 0.2 | 0 | 250 | 75
pm2p5oc | C | PM2.5 organic carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
pm2p5pb | Pb | PM2.5 lead | ng m−3 | 50 | 0 | 60 000.0 | 15 000.0
pm2p5se | Se | PM2.5 selenium | ng m−3 | 0.2 | 0 | 150 | 30
pm2p5so4 | SO42- | PM2.5 sulfate | µg m−3 | 0.2 | 0 | 150 | 30
pm2p5so4nss | SO42- | PM2.5 sulfate: non-sea salt | µg m−3 | 0.2 | 0 | 150 | 30
pm2p5so4ss | SO42- | PM2.5 sulfate: sea salt | µg m−3 | 0.2 | 0 | 150 | 30
pm2p5v | V | PM2.5 vanadium | ng m−3 | 0.2 | 0 | 100 | 20
pm2p5zn | Zn | PM2.5 zinc | ng m−3 | 20 | 0 | 30 000.0 | 5000
PM1
pm1 | – | Total PM1 | µg m−3 | 20 | 0 | 50 000.0 | 5000
pm1al | Al | PM1 aluminium | ng m−3 | 20 | 0 | 50 000.0 | 5000
pm1as | As | PM1 arsenic | ng m−3 | 1 | 0 | 1000 | 200
pm1bc | C | PM1 black carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
pm1c | C | PM1 carbon | µg m−3 | 20 | 0 | 50 000.0 | 5000
pm1ca | Ca2+ | PM1 calcium | µg m−3 | 0.2 | 0 | 100 | 20
pm1cd | Cd | PM1 cadmium | ng m−3 | 0.2 | 0 | 500 | 75
pm1cl | Cl− | PM1 chloride | µg m−3 | 0.2 | 0 | 150 | 30
pm1cobalt | Co | PM1 cobalt | ng m−3 | 0.1 | 0 | 50 | 5
pm1cr | Cr | PM1 chromium | ng m−3 | 1 | 0 | 500 | 100
pm1cu | Cu | PM1 copper | ng m−3 | 1 | 0 | 750 | 150
pm1ec | C | PM1 elemental carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
pm1fe | Fe | PM1 iron | ng m−3 | 20 | 0 | 50 000.0 | 5000
pm1hg | Hg | PM1 mercury | pg m−3 | 10 | 0 | 30 000.0 | 3000
pm1k | K+ | PM1 potassium | µg m−3 | 0.2 | 0 | 50 | 10
pm1mg | Mg2+ | PM1 magnesium | µg m−3 | 0.2 | 0 | 50 | 10
pm1mn | Mn | PM1 manganese | ng m−3 | 2 | 0 | 5000 | 500
pm1msa | CH4O3S | PM1 methanesulfonic acid | µg m−3 | 0.2 | 0 | 75 | 25
pm1na | Na+ | PM1 sodium | µg m−3 | 0.2 | 0 | 150 | 30
pm1nh4 | NH4+ | PM1 ammonium | µg m−3 | 0.2 | 0 | 150 | 30
pm1nh4no3 | NH4NO3 | PM1 ammonium nitrate | µg m−3 | 0.2 | 0 | 150 | 30
pm1ni | Ni | PM1 nickel | ng m−3 | 5 | 0 | 10 000.0 | 1000
pm1no3 | NO3- | PM1 nitrate | µg m−3 | 0.2 | 0 | 250 | 75
pm1oc | C | PM1 organic carbon | µg m−3 | 10 | 0 | 25 000.0 | 2500
pm1pb | Pb | PM1 lead | ng m−3 | 50 | 0 | 60 000.0 | 15 000.0
pm1se | Se | PM1 selenium | ng m−3 | 0.2 | 0 | 150 | 30
pm1so4 | SO42- | PM1 sulfate | µg m−3 | 0.2 | 0 | 150 | 30
pm1so4nss | SO42- | PM1 sulfate: non-sea salt | µg m−3 | 0.2 | 0 | 150 | 30
pm1so4ss | SO42- | PM1 sulfate: sea salt | µg m−3 | 0.2 | 0 | 150 | 30
pm1v | V | PM1 vanadium | ng m−3 | 0.2 | 0 | 100 | 20
pm1zn | Zn | PM1 zinc | ng m−3 | 20 | 0 | 30 000.0 | 5000
aod
od380aero | – | Aerosol optical depth at 380 nm | Unitless | – | 0 | 20 | –
od440aero | – | Aerosol optical depth at 440 nm | Unitless | – | 0 | 20 | –
od500aero | – | Aerosol optical depth at 500 nm | Unitless | – | 0 | 20 | –
od500aerocoarse | – | Coarse-mode aerosol optical depth at 500 nm | Unitless | – | 0 | 20 | –
od500aerofine | – | Fine-mode aerosol optical depth at 500 nm | Unitless | – | 0 | 20 | –
fm500frac | – | Fine-mode aerosol optical depth fraction at 500 nm | Unitless | – | 0 | 1 | –
od550aero | – | Aerosol optical depth at 550 nm | Unitless | – | 0 | 20 | –
od675aero | – | Aerosol optical depth at 675 nm | Unitless | – | 0 | 20 | –
od870aero | – | Aerosol optical depth at 870 nm | Unitless | – | 0 | 20 | –
od1020aero | – | Aerosol optical depth at 1020 nm | Unitless | – | 0 | 20 | –
ae440-870aero | – | Ångström exponent between 440 and 870 nm | Unitless | – | 0 | 4 | –
extaod
extod440aero | – | Extinction aerosol optical depth at 440 nm | Unitless | – | 0 | 20 | –
extod440aerocoarse | – | Extinction coarse-mode aerosol optical depth at 440 nm | Unitless | – | 0 | 20 | –
extod440aerofine | – | Extinction fine-mode aerosol optical depth at 440 nm | Unitless | – | 0 | 20 | –
extod675aero | – | Extinction aerosol optical depth at 675 nm | Unitless | – | 0 | 20 | –
extod675aerocoarse | – | Extinction coarse-mode aerosol optical depth at 675 nm | Unitless | – | 0 | 20 | –
extod675aerofine | – | Extinction fine-mode aerosol optical depth at 675 nm | Unitless | – | 0 | 20 | –
extod870aero | – | Extinction aerosol optical depth at 870 nm | Unitless | – | 0 | 20 | –
extod870aerocoarse | – | Extinction coarse-mode aerosol optical depth at 870 nm | Unitless | – | 0 | 20 | –
extod870aerofine | – | Extinction fine-mode aerosol optical depth at 870 nm | Unitless | – | 0 | 20 | –
extod1020aero | – | Extinction aerosol optical depth at 1020 nm | Unitless | – | 0 | 20 | –
extod1020aerocoarse | – | Extinction coarse-mode aerosol optical depth at 1020 nm | Unitless | – | 0 | 20 | –
extod1020aerofine | – | Extinction fine-mode aerosol optical depth at 1020 nm | Unitless | – | 0 | 20 | –
extae440-870aero | – | Extinction Ångström exponent between 440 and 870 nm | Unitless | – | 0 | 4 | –
absaod
absod440aero | – | Absorption aerosol optical depth at 440 nm | Unitless | – | 0 | 20 | –
absod675aero | – | Absorption aerosol optical depth at 675 nm | Unitless | – | 0 | 20 | –
absod870aero | – | Absorption aerosol optical depth at 870 nm | Unitless | – | 0 | 20 | –
absod1020aero | – | Absorption aerosol optical depth at 1020 nm | Unitless | – | 0 | 20 | –
absae440-870aero | – | Absorption Ångström exponent between 440 and 870 nm | Unitless | – | 0 | 4 | –
ssa
sca440aero | – | Single-scattering albedo at 440 nm | Unitless | – | 0 | 1 | –
sca675aero | – | Single-scattering albedo at 675 nm | Unitless | – | 0 | 1 | –
sca870aero | – | Single-scattering albedo at 870 nm | Unitless | – | 0 | 1 | –
sca1020aero | – | Single-scattering albedo at 1020 nm | Unitless | – | 0 | 1 | –
asy
asy440aero | – | Asymmetry factor at 440 nm | Unitless | – | 0 | 2 | –
asy440aerocoarse | – | Coarse-mode asymmetry factor at 440 nm | Unitless | – | 0 | 2 | –
asy440aerofine | – | Fine-mode asymmetry factor at 440 nm | Unitless | – | 0 | 2 | –
asy675aero | – | Asymmetry factor at 675 nm | Unitless | – | 0 | 2 | –
asy675aerocoarse | – | Coarse-mode asymmetry factor at 675 nm | Unitless | – | 0 | 2 | –
asy675aerofine | – | Fine-mode asymmetry factor at 675 nm | Unitless | – | 0 | 2 | –
asy870aero | – | Asymmetry factor at 870 nm | Unitless | – | 0 | 2 | –
asy870aerocoarse | – | Coarse-mode asymmetry factor at 870 nm | Unitless | – | 0 | 2 | –
asy870aerofine | – | Fine-mode asymmetry factor at 870 nm | Unitless | – | 0 | 2 | –
asy1020aero | – | Asymmetry factor at 1020 nm | Unitless | – | 0 | 2 | –
asy1020aerocoarse | – | Coarse-mode asymmetry factor at 1020 nm | Unitless | – | 0 | 2 | –
asy1020aerofine | – | Fine-mode asymmetry factor at 1020 nm | Unitless | – | 0 | 2 | –
sphaero | – | Sphericity factor | Unitless | – | 0 | 100 | –
rin
rinreal440 | – | Real part of the refractive index at 440 nm | Unitless | – | 1 | 2 | –
rinreal675 | – | Real part of the refractive index at 675 nm | Unitless | – | 1 | 2 | –
rinreal870 | – | Real part of the refractive index at 870 nm | Unitless | – | 1 | 2 | –
rinreal1020 | – | Real part of the refractive index at 1020 nm | Unitless | – | 1 | 2 | –
rinimag440 | – | Imaginary part of the refractive index at 440 nm | Unitless | – | 0 | 0.1 | –
rinimag675 | – | Imaginary part of the refractive index at 675 nm | Unitless | – | 0 | 0.1 | –
rinimag870 | – | Imaginary part of the refractive index at 870 nm | Unitless | – | 0 | 0.1 | –
rinimag1020 | – | Imaginary part of the refractive index at 1020 nm | Unitless | – | 0 | 0.1 | –
vconc
vconcaero | – | Normalised total volume concentration (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 20 | –
vconcaerocoarse | – | Normalised total coarse-mode volume concentration (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 20 | –
vconcaerofine | – | Normalised total fine-mode volume concentration (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 20 | –
size
vconcaerobin1 | – | Normalised volume concentration at 0.05 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin2 | – | Normalised volume concentration at 0.065604 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin3 | – | Normalised volume concentration at 0.086077 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin4 | – | Normalised volume concentration at 0.112939 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin5 | – | Normalised volume concentration at 0.148184 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin6 | – | Normalised volume concentration at 0.194429 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin7 | – | Normalised volume concentration at 0.255105 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin8 | – | Normalised volume concentration at 0.334716 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin9 | – | Normalised volume concentration at 0.439173 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin10 | – | Normalised volume concentration at 0.576227 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin11 | – | Normalised volume concentration at 0.756052 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin12 | – | Normalised volume concentration at 0.991996 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin13 | – | Normalised volume concentration at 1.301571 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin14 | – | Normalised volume concentration at 1.707757 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin15 | – | Normalised volume concentration at 2.240702 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin16 | – | Normalised volume concentration at 2.939966 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin17 | – | Normalised volume concentration at 3.857452 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin18 | – | Normalised volume concentration at 5.061260 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin19 | – | Normalised volume concentration at 6.640745 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin20 | – | Normalised volume concentration at 8.713145 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin21 | – | Normalised volume concentration at 11.432287 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –
vconcaerobin22 | – | Normalised volume concentration at 15.00 µm (dV(r)/dln(r)) | µm3 µm−2 | – | 0 | 2 | –