## Worksheet 1
Instrument | Company | Variable | Specifications
Micro CTD | AML | Temperature | Range: −2 to 32 ∘C
Initial accuracy: 0.005 ∘C
Resolution: 0.001 ∘C
|  | Conductivity | Range: 2–70 mS cm−1
Initial accuracy: 0.01 mS cm−1
Resolution: 0.0015 mS cm−1
|  | Pressure | Range: 0–600 bar
Initial accuracy: 0.05 % FS (Full Scale)
Resolution: 0.1 dbar
Micro SV | AML | Sound velocity | Range: 1375–1600 ms−1
Initial accuracy: 0.05 ms−1
Resolution: 0.01 ms−1
|  | Pressure | Range: 0–600 bar
Initial accuracy: 0.05 % FS
Resolution: 0.1 dbar
Rinko III | JFE Alec | Dissolved | Range: 0 %–100 %
|  | oxygen | Response time: 0.9 s (90 %)
Drift: 5 % per month
ECOFLO | Sea-Bird (WetLabs) | Fluorescence | Range: 0–125 µg L−1
Sensitivity: 0.062 µg L−1
Wavelength: 470 and 695 nm
C-Star transmissometer | Sea-Bird (WetLabs) | Beam transmittance | Optical pathlength: 25 cm
Wavelength: 657 nm
Sensitivity: 1.25 mV
Response time: 0.167 s