## Worksheet 1
Atmospheric state and aircraft state
Instrument | Description | Source/supplier
GPS (Global Positioning System) DSM 232 GPS/INS (Inertial Navigation System) | Position and velocity | Trimble
VectorNav INS | Position and velocity | VINS
Miniature integrated GPS/INS tactical system (C-MIGITS) III | Inertial navigation system/Global Positioning System: position, velocity, and attitude | Systron Donner
Aircraft-integrated meteorological measurement system-20 (AIMMS-20) | Five-port air motion sensing: true airspeed, angle of attack, and side slip Meteorology: temperature, relative humidity, and pressure Inertial navigation system/Global Positioning System: position, velocity, and attitude | Aventech
Chilled-mirror hygrometer – General Eastern 1011C | Dew point temperature | General Eastern
Rosemount 1201F1 | Pressure | Goodrich Corporation
Rosemount E102AL/510BF | Temperature | Goodrich Corporation
Cloud properties
Instrument | Description | Source/supplier
Fast-cloud droplet probe (FCDP) | Cloud particle size distribution from 2 to 50 µm | Stratton Park Engineering Company
2D stereo (2D-S) probe | Cloud particle size distribution from 10 to 3000 µm | Stratton Park Engineering Company
High-volume precipitation spectrometer (HVPS), version 3 | Precipitation particle size distribution from 150 to 19 600 µm | Stratton Park Engineering Company
Aerosol properties
Instrument | Description | Source/supplier
Aerosol isokinetic inlet | Sample stream of dry aerosol, sizes | Brechtel Manufacturing Inc.
Counterflow virtual impactor (CVI) inlet | Sampling of cloud droplet residuals | Brechtel/PNNL build
Three-wavelength integrating nephelometer, Model 3563 | Aerosol scattering coefficient at 450, 550, and 700 nm | Trust Science Innovation (TSI) Inc.
Three-wavelength particle soot/absorption photometer (PSAP) | Aerosol absorption coefficient at 462, 523, and 648 nm | Radiance Research
Ultrafine condensation particle counter (UCPC), Model 3025A | Total aerosol concentration | Trust Science Innovation (TSI) Inc.
Condensation particle counter (CPC), Model 3772 | Total aerosol concentration >0.010 µm | Trust Science Innovation (TSI) Inc.
Dual-column cloud condensation nuclei counter (CCN) | Concentration of cloud condensation nuclei at two specified supersaturations | Droplet Measurement Technologies
Passive cavity aerosol spectrometer-100X (PCASP) | Size distribution from 0.10 to 3 µm | Particle Measuring Systems Inc. (PMS)
Ultra-high sensitivity aerosol spectrometer (UHSAS) | Aerosol size distribution from 0.060 to 1 µm | Droplet Measurement Technologies
Fast integrated mobility spectrometer (FIMS) | Aerosol size distribution from 0.010 to 0.450 µm | BNL build
Single particle soot photometer (SP2) | Soot spectrometry | Droplet Measurement Technologies
High-resolution time-of-flight aerosol mass spectrometer (HR-ToF-AMS) | Particle chemical composition | Aerodyne Inc.
Gas-phase measurements
Instrument | Description | Source/supplier
N2O/CO-23r | Concentration of CO, N2O, and H2O | Los Gatos
SO2 – Model 43i | Concentration of SO2 | Thermo Scientific/BNL modified
O3 – Model 49i | Concentration of O3 | Thermo Scientific
Oxides of nitrogen | Concentration of NO, NO2, and NOy | Air Quality Devices/BNL modified