## Worksheet 1
Measurement scenario | ID | Explanations | Reasons to discard | Reasons to keep and approach | Kept (%) | CV
Linear increase | VQC1 VQC2 | Net CH4 production and diffusive emission | • Small non-linearities due to ebullition or saturation • High initial CH4 concentrations • No shading | • Consistent linear increase in CH4 concentrations • No indications of significant disturbances or malfunctioning of the instruments • Close-to-ambient initial CH4 concentrations | 91 | 2.5
Non-linear increase – decreasing slope | VQC4 VQC5 VQC9 | • Saturation • Initial disturbance • Leakage • Changing environmental conditions • Unsure | • Saturation • No steady state reached • Initial disturbance • Leakage • Changing environmental conditions • Unclear which part of the measurement represents real flux | • No clear disturbance • Non-linear fit • Use more linear part in the beginning • Use more linear part at the end | 79 | 44
Initial jump | VQC7 | • Ebullition caused by chamber placement • Malfunctioning of gas analyzer | High CH4 concentrations affect concentration gradient | Use linear part after the jump | 62 | 5
Jump(s) | VQC8 VQC12 | • Ebullition caused by (anthropogenic) disturbance • Malfunctioning of gas analyzer | • High CH4 concentrations affect concentration gradient • Ebullition affects pressure inside the chamber | • Use measurement before first jump • Use linear part after the jump(s) • Use longest linear part in between jumps | 40 | 42.5
Non-linear increase – increasing slope | VQC10 | • Initial period of mixing or adjusting • Increase in chamber temperature over time • Disturbance of measurement plot and/or concentration gradient during chamber placement • Chamber affects plant-mediated CH4 transport • Leakage | Shape of curve unexpected, and strong curvature makes flux estimate depend strongly on selected time period | • Non-linear fit • Use more linear part in the beginning • Use more linear part at the end | 76 | 19
Inconsistent trend | VQC11 | • Net CH4 consumption • Net CH4 uptake unexpected Measurement issue: • Gas analyzer issue • Condensation • Leakage • Malfunctioning fan • Initial disturbance such as ebullition caused by chamber placement | • No consistent trend of sufficient length • Unclear which part to use for flux calculation because reason for pattern or timing of disturbance unclear | • Keep increasing initial part of the measurement • Keep later, decreasing part of the measurement | 29 | 138
Linear decrease | VQC3 | • Net CH4 uptake • Leakage • High initial CH4 concentrations | • Net CH4 uptake unexpected in wetland • Initial ebullition • Anthropogenic disturbance • Leakage | Net CH4 uptake possible | 50 | 17
Low variation | VQC6 | • Production and oxidation balance • Zero flux (uncertainty > flux) • Leakage | • Leakage • Changing trend in CH4 concentrations | • Manually set flux to zero • Small but real flux exceeding instrument precision | 38 | 57