## Worksheet 1
Data type | Variable | Instrument | Description
Meteorological | DRYT (°C) | HMP155 HUMICAP | Humidity and temperature probe. Heated sensor to avoid condensation and maintain humidity
levels within the ambient levels.
ATMS (hPa) | PTB330 | Barometer. A capacitive absolute pressure sensor made of silicon.
WSPD (m s−1) | WMT700 | Ultrasonic anemometer. Measures the time it takes for the ultrasound to travel from one
transducer to another.
RELH (%) | HMP155 HUMICAP | Humidity and temperature probe.
RDIN (W m−2) | CMP3 | Solar radiation pyranometer. Long waves range between 300 and 2800 nm.
TSG | TEMP (°C) | DTS12W | Temperature probe in the continuous water circuit of the thermosalinograph.