## Worksheet
Probe | Instrument | Measured Quantities | Uncertainty
| Radiosonde | Air temperature (T), relative humidity (RH) | 0.2 K, 3 %–5 %
TMP | Mini-ultrasonic anemomenter | 3D wind vector | 7.5 cm s−1, 1.5 °
| Hot-wire anemometer | Wind speed at 250 Hz
BP | 2× Pyrgeometers | Upward, downward thermal infrared irradiance (TIR) | 5 W m−2
| BME280 sensor | Air temperature, relative humidity | 0.3 K, 2 %