## Worksheet
Category | Issue | Frequency | Typical consequences
Tricky-to-spot issues | High variability in inclinometer readings due to AWS shaking or sensor failure | Medium | Uncertain tilt corrections; noise in radiation data.
| Riming affecting multiple variables | High | Attenuated radiation, blocked wind sensors, biased temperature and humidity.
| Undocumented drift in AWS azimuth orientation | Medium | Misalignment in shortwave radiation and wind direction corrections.
| Sonic ranger membrane failure | Medium | Missing or unreliable snow height measurements.
| Instruments buried by snow | High | Data dropout; sudden shifts in radiation or air temperature.
| Tripod collapse from snow compaction | Low–Medium | Multi-sensor failure; long data gaps.
| AWS toppling from extreme winds or unstable terrain | Low | Catastrophic data loss; multi-month outages.
| Sensor boom bent by snow compaction | Medium | Misaligned radiometers and inclinometers.
| Pressure transducer leakage or over-pressurization | Low–Medium | Incorrect barometric pressure values.
| Electrostatic discharge (ESD) damage | Low | Sensor degradation; sporadic data failures.
| Delayed melt-induced pluviometer recordings | High | Artificial precipitation spikes during melt season.
Systematic errors | Radiative shading by instruments or station frame | High | Albedo biases, particularly at low solar angles.
| Uncertain AWS azimuth orientation | Medium | Errors in solar radiation and wind direction corrections.
| Incomplete quality/certainty flagging | High | Users required to manually identify issues.
Human and animal factors | Incorrect sensor mounting or cable swapping | Medium | Long-term biases; mislabeled variables.
Animal interference (e.g., soiling, disturbance) | Low–Medium | Spurious temperature or radiation anomalies.
| Hardware failures not linked to environmental forcing | Medium | Data gaps or sensor drift.
Environmental degradation | Snow settling | High | Gradual tilt or sensor-height changes.
Freeze–thaw cycles | High | Intermittent failures; degraded connectors.
| UV degradation of exposed materials (e.g., carbon stakes) | Medium | Structural weakening; measurement drift.