## Worksheet
Parameter | Value | Unit
Spectral range (Pyranometer) | 305 to 2800 | nm
Spectral range (Pyrgeometer) | 4500 to 42 000 | nm
Measurement range (Pyranometer) | 0 to 2000 | W m−2
Measurement range (Pyrgeometer) | −250 to +250 | W m−2
Sensitivity (Pyranometer) | 10 to 35 | µV (dc) (Wm-2)-1
Sensitivity (Pyrgeometer) | 5 to 18 | µV (dc) (Wm-2)-1
Non-linearity |  | %
Field of view (Pyranometer) | 180 | °
Field of view (Pyrgeometer) | 150 | °
Long-term stability |  | % yr−1
Signal output (Pyranometer) | 0 to 50 | mV (dc)
Signal output (Pyrgeometer) | −4 to +4 | mV (dc)
Response time | 18 | s
Operating temperature range | −40 to +80 | °C
Operating RH range | 0 to 100 | %