## Worksheet
Methods | Principles | Grain-size range | Advantages | Limitations | Applied to
Combined sieving–laser diffraction | Sieving separates coarse fractions by physical passage through mesh; laser diffraction measures fine fractions by angular light scattering | 0.0001–20 mm | Full size-range coverage (clay to gravel); high precision for fine fractions; standardized protocols (ASTM/ISO) | Time-intensive; requires laboratory access | Earth (field samples and literature)
Dry sieving | Mechanical shaking through nested sieve stacks | 0.001–10 mm | Direct mass-based measurement; well-established for coarse sediments; large sample masses possible | Poor resolution for fines ( | Moon (all missions)
Image-based segmentation | Grain boundary detection from high-resolution images; equivalent circular diameter calculation | 0.04–25 mm | In situ analysis; no sample return required; spatial context preserved | Truncated at fine end (≥ 40 µm); spherical grain assumption (standard practice in 2D image analysis; see Heilbronner and Barrett, 2013; Pizzati et al., 2023); 2D projection bias | Mars (rover images)