## Worksheet 1
Compound/ | Instrument | Measurement | Acquisition frequency | Variable | Heights(s)
Parameter | (manufacturer) | principle | (aggregation frequency) | type | [m a.g.l.]
(i) Main measurements (present study)
VOC | PTR-ToF-4000 | proton-transfer | 10 Hz | Conc. | 3-11-19-27-
| (Ionicon Analytik) | mass spectro. | (35 min) | profile | 35-43-51
|  |  | 10 Hz | Conc. | 51
|  |  | (1 or 30 min) | & Flux
|  |  | 10 Hz | Conc. | 3*
|  |  | (1 or 30 min) | & Flux
O3 | T400 | UV absorption | 6 s | Conc. | 3-11-19-27-
| (Teledyne) |  | (35 min) | profile | 35-43-51
|  |  | 6 s | Conc. | 51
|  |  | (1 or 30 min) | & Flux
|  |  | 6 s | Conc. | 3*
|  |  | (1 or 30 min) | & Flux
O3 | FOS | chemi- | 10 Hz | Flux | 51
| (Sextant) | luminescence | (30 min)
O3 | FOS | chemi- | 10 Hz | Flux | 3
| (Sextant) | luminescence | (30 min)
3D wind | HS-50 | ultrasonic | 10 Hz | – | 6-18-51
| (Gill) | time-of-flight | (30 min)
3D wind | R3 | ultrasonic | 10 Hz | – | 3-12-24-30-36
| (Gill) | time-of-flight | (30 min)
(ii) ICOS measurements
Comprehensive set of meteorological and phenological variables
A complete description of ICOS variables is available along with the downloaded dataset.
(iii) ISSeP measurements
Set of atmospheric pollutants: VOC, PAH, O3, NO, NO2, CO, SO2, Hg, PM2.5, PM10, ultrafine particles, aerosols
For the complete list of compounds, instruments, acquisition frequency and heights, see Table S1.
(iv) Remote-sensing measurements
Tropospheric column + vertical profile of HCHO, NO2, aerosols
For the complete list of compounds, instruments, acquisition frequency and heights, see Table S1.