## Worksheet
Device | Group | Data set | Description
fcdp | better_histograms | time | Time in UTC seconds since 1 January 1970
fcdp | better_histograms | particle_bin_counts_2darray | Particle counts for each size bin per second
fcdp | better_histograms | particle_diameter_bin | Bin midpoints of particle size bins in the bin counts 2 d array in m
fcdp | particle_by_particle | time | Time in UTC seconds since 1 January 1970
fcdp | particle_by_particle | particle_diameter | Particle diameter in m
hmp7 |  | time | Time in UTC seconds since 1 January 1970
hmp7 |  | air_temperature | Air temperature in K with calibration factor applied
hmp7 |  | relative_humidity | Relative humidity (value of 1 for water saturated conditions) with calibration factor applied
powerinterlock | ubx_nav_pvt | time | Time in UTC seconds since 1 January 1970
powerinterlock | ubx_nav_pvt | alt | GNSS altitude in m MSL
powerinterlock | ubx_nav_pvt | lat | Geographic latitude in °
powerinterlock | ubx_nav_pvt | lon | Geographic longitude in °
powerinterlock | ubx_nav_att | time | Time in UTC seconds since 1 January 1970
powerinterlock | ubx_nav_att | platform_pitch_fore_up | Pitch angle in °
powerinterlock | ubx_nav_att | platform_roll_starboard_down | Roll angle in °
powerinterlock | ubx_nav_att | platform_yaw_fore_starboard | Yaw angle in °
pss8 |  | time | Time in UTC seconds since 1 January 1970
pss8 |  | instrument_calibrated_speed_wrt_air | Air speed in m s−1 with manufacturer calibration factor applied and geometric correction
pss8 |  | barometric_altitude | Altitude in m above mean sea level (a.m.s.l.) derived from air pressure
pss8 |  | air_temperature | Air temperature in K with calibration factor applied
pss8 |  | air_pressure | Static air pressure in Pa
rht |  | time | Time in UTC seconds since 1 January 1970
rht |  | air_temperature_2 | Air temperature in K with calibration factor applied
rht |  | relative_humidity_2 | Relative humidity (value of 1 for water saturated conditions) with calibration factor applied
sbg | euler | time | Time in UTC seconds since 1 January 1970
sbg | euler | platform_pitch_fore_up | Pitch angle in °
sbg | euler | platform_roll_starboard_down | Roll angle in °
sbg | euler | platform_yaw_fore_starboard | Yaw angle in °
sbg | filtered_nav | time | Time in UTC seconds since 1 January 1970
sbg | filtered_nav | alt | GNSS altitude in m MSL
sbg | filtered_nav | lat | Geographic latitude in °
sbg | filtered_nav | lon | Geographic longitude in °